## S215_1

### What chemical compounds might be present in drinking water?

About this free course

This free course is an adapted extract from the Open University course S215 Chemistry: essential concepts http://www.open.ac.uk/courses/modules/s215.

This version of the content may include video, images and interactive content that may not be optimised for your device.

You can experience this free course as it was originally designed on OpenLearn, the home of free learning from The Open University: http://www.open.edu/openlearn/science-maths-technology/what-chemical-compounds-might-be-present-drinking-water/content-section-0.

There you'll also be able to track your progress via your activity record, which you can use to demonstrate your learning.

Copyright © 2016 The Open University

Intellectual property

Unless otherwise stated, this resource is released under the terms of the Creative Commons Licence v4.0 http://creativecommons.org/licenses/by-nc-sa/4.0/deed.en_GB. Within that The Open University interprets this licence in the following way: www.open.edu/openlearn/about-openlearn/frequently-asked-questions-on-openlearn. Copyright and rights falling outside the terms of the Creative Commons Licence are retained or controlled by The Open University. Please read the full text before using any of the content.

We believe the primary barrier to accessing high-quality educational experiences is cost, which is why we aim to publish as much free content as possible under an open licence. If it proves difficult to release content under our preferred Creative Commons licence (e.g. because we can't afford or gain the clearances or find suitable alternatives), we will still release the materials for free under a personal end-user licence.

This is because the learning experience will always be the same high quality offering and that should always be seen as positive - even if at times the licensing is different to Creative Commons.

When using the content you must attribute us (The Open University) (the OU) and any identified author in accordance with the terms of the Creative Commons Licence.

The Acknowledgements section is used to list, amongst other things, third party (Proprietary), licensed content which is not subject to Creative Commons licensing. Proprietary content must be used (retained) intact and in context to the content at all times.

The Acknowledgements section is also used to bring to your attention any other Special Restrictions which may apply to the content. For example there may be times when the Creative Commons Non-Commercial Sharealike licence does not apply to any of the content even if owned by us (The Open University). In these instances, unless stated otherwise, the content may be used for personal and non-commercial use.

We have also identified as Proprietary other material included in the content which is not subject to Creative Commons Licence. These are OU logos, trading names and may extend to certain photographic and video images and sound recordings and any other material as may be brought to your attention.

Unauthorised use of any of the content may constitute a breach of the terms and conditions and/or intellectual property laws.

We reserve the right to alter, amend or bring to an end any terms and conditions provided here without notice.

All rights falling outside the terms of the Creative Commons licence are retained or controlled by The Open University.

Head of Intellectual Property, The Open University

978-1-4730-1831-0 (.kdl)
978-1-4730-1063-5 (.epub)

# Contents

- Introduction

- Learning outcomes

- 1 Water

  - 1.1 The water cycle and drinking water

  - 1.2 The toxicity of chemicals

  - Summary of Section 1

- 2 Anions in water

  - 2.1 The nitrogen cycle

  - 2.2 Arsenic pollution in the environment

  - Summary of Section 2

- 3 Phosphorus compounds in water

  - 3.1 Phosphates in the environment

  - 3.2 Oxoacids

  - 3.3 Condensation of oxoacids

  - Summary of Section 3

- 4 Cations in water

  - 4.1 Aqueous chemistry of aluminium

  - 4.2 Home water filters

  - Summary of Section 4

- Conclusion

- Glossary

- References

- Further reading

- Acknowledgements

## Introduction

This free course focuses on the chemistry of the p-block elements in Groups 13 to 18 of the Periodic Table. The periodicity in the chemistry of these elements will become apparent and any remarkable effects, such as the so-called inert pair effect, will be highlighted.

The approach adopted illustrates how main-Group chemistry is important in everyday life. This course covers the water that you drink. For instance, a high level of certain anions in water can cause environmental pollution and health problems and are therefore regulated by several EU Directives. Cations are also important, for example calcium salts contribute to the hardness of water and water treatment uses aluminium compounds.

This OpenLearn course is an adapted extract from the Open University course S215 Chemistry: essential concepts.

## Learning outcomes

After studying this course, you should be able to:

- understand that in drinking water anions have a beneficial range of concentration above which they may have an adverse effect on either human health or the environment. Toxic elements and compounds often block essential biological processes

- explain how excess anions or cations in aqueous solution can be removed by ion-exchange chromatography or an ion-exchange membrane

- explain how cations such as aluminium can be amphoteric, that is they can neutralise both acidic and alkaline solutions. Also recognise how this enables aluminium(III) ions to be used in water treatment.

## 1 Water

To flourish on the Earth, human, animal and plant life require a constant source of clean water. In many countries around the world new chemical technology is now needed to ensure economical and sustainable water management. As the population increases, industries develop and the understanding of the health implications of pollutants grows. Pollution is defined as the introduction into the environment (water, air or land) of contaminants, the quantities, characteristics and duration of which are likely to be injurious to human, animal or plant life.

The following questions about water quality arise for chemists:

- What chemicals are dissolved in water, such as anions, cations and organic compounds?

- What levels are considered as safe?

- What levels lead to pollution?

- How are unwanted chemicals and microorganisms removed?

In the following sections, by taking water purification as an example, you will see a number of important examples of where main-Group chemistry is important to our everyday lives. Here, several important anions and cations found in water will be considered. Additionally you will explore some chemistry associated with the nitrogen cycle, phosphororus, aluminium and thallium.

## 1.1 The water cycle and drinking water

Water moves around the Earth in the water cycle (Figure 1). Natural water on Earth is not completely pure as compounds may dissolve at several points in the cycle and this may lead to pollution if above accepted guidelines.

Start of Figure

Figure 1 The water cycle.

View description - Figure 1 The water cycle.

End of Figure

Start of ITQ

- Predict where inorganic pollutants might enter the water cycle?

- At several steps in the water cycle inorganic compounds can become dissolved and, depending on their level, pollution may occur. For example:

  - Anions such as nitrate and phosphate may become dissolved from agricultural fertilisers, sewage and the natural breakdown of organic matter.

  - Air pollution from burning fuels can produce nitrogen oxides, NOx compounds and sulfur oxides, SOx compounds, to form dissolved nitrates and sulfates respectively.

  - Cations such as calcium or magnesium may dissolve naturally due to the weathering of minerals in rocks or via anthropogenic, or human-derived, contamination of ground water by pollutants from industry, roads, or mining.

End of ITQ

For drinking purposes water has to meet government guidelines but will not be absolutely pure as it is also a natural source of ions needed by the human body. Some typical values are shown in Figure 2 and Table 1.

Start of Figure

Figure 2 Typical analysis for a bottle of mineral water values shown in mg l-1.

View description - Figure 2 Typical analysis for a bottle of mineral water values shown in mg l-1.

End of Figure

Start of ITQ

- What will the [H+(aq)] be in the water in Figure 1?

- Start of Equation

(Equation 1)

End of Equation

Rearranging gives

[H+(aq)] = 10−pH mol dm−3 = 10−7.4 = 4.0 × 10−8 mol dm−3

End of ITQ

Start of Table

Table 1 Concentrations of ions in bottled and tap waters.

| Ion | Concentration/mg l−1 |
| --- | --- |
|  | Volvic® | Vittel® | Buxton® | Evian® | Tap water* |
| calcium Ca2+ | 11.5 | 91 | 55 | 78 | 102 |
| magnesium Mg2+ | 8.0 | 19.9 | 19 | 24 | 8.81 |
| sodium Na+ | 11.6 | 7.3 | 24 | 5 | 49.1 |
| potassium K+ | 6.2 | - | 1 | 1 | n.a. |
| choride Cl− | 13.5 | - | 37 | 4.5 | 73.9 |
| nitrate NO3− | 6.3 | 0.6 | <0.1 | 3.5 | 20.6 |
| sulfate SO42− | 8.1 | 105 | 13 | 10 | 120 |
| bicarbonate HCO3− | 71.0 | 258 | 248 | 357 | n.a. |

* value for the area containing The Open University in Milton Keynes; - = too small to measure; n.a.= not available

End of Table

Start of Activity

#### Activity 1 Ions in drinking water

Allow at least 30 minutes

##### Question 1

Start of Question

This activity aims to access up-to-date information about ions in drinking water. You will access the web pages of the Drinking Water Inspectorate, DWI (2015) of England and Wales. (Hint: use the A-Z index.)

Search for information to answer the following questions:

Which ions in Table 1 are responsible for the hardness of water?

End of Question

View answer - Question 1

##### Question 2

Start of Question

What is the World Health Organization (2015) guideline value for nitrate concentration in drinking water?

End of Question

View answer - Question 2

##### Question 3

Start of Question

How does the concentration compare with the values for nitrate concentration in Table 1?

End of Question

View answer - Question 3

##### Question 4

Start of Question

What is the allowed level of fluoride ions in drinking water? (Note this is often artificially added to water supplies.)

End of Question

View answer - Question 4

End of Activity

You might wish to check the water quality report for your own water supplier. This is often available on the company website or see if the values for tap water in Milton Keynes in Table 1 have altered. Links to information on drinking water in other EU states can be found at European Commission (2015).

## 1.2 The toxicity of chemicals

As you have just considered several safe levels for chemicals in drinking water, it is appropriate now to discuss what is meant by toxicity. The German physician Paracelsus explored the relationship between dose and response. To paraphrase his conclusion: All things are poison and nothing without poison. Solely the dose determines that a thing is not a poison.

The toxicity of a chemical needs to be assessed in a way that relates dose to the receptor, such as an animal or human, and the time of exposure. Criteria, qualitative and quantitative statements of such relationships, are difficult to determine. For example, a high concentration may kill in a short time, but a lower concentration either may be lethal over a longer period than is measured, or may not kill but instead affect the behaviour or the susceptibility to environmental stress cumulatively over the lifetime of the receptor.

Figure 3 illustrates an approach to assessing toxicity, showing the connection between the dose given and the response to the chemical. This dose-response is measured by the percentage of rats killed by receiving a particular dose, expressed as milligrams per kilogram rat body weight. From this the LD50, the applied lethal dose responsible for killing 50% of the rat population, may be obtained (Table 2 shows some examples).

Start of Figure

Figure 3 Dose-response curve determination of LD50.

View description - Figure 3 Dose-response curve determination of LD50.

End of Figure

If the dose is expressed in terms of concentration, it is possible to record the percentage kill after different periods of exposure to varying levels of the chemical. Such a graph can yield the LC50, or median lethal concentration, which is the applied lethal concentration responsible for killing 50% of the rat population when administered as a single exposure.

In the case of the LD50, a distinction is made between short-term and long-term toxic action:

- An acute LD50 is measured after the administration of a single dose.

- A chronic LD50 refers to longer-term exposure following two or more doses given at different times.

- As LC50 values tend to be long-term measurements, they are more comparable to chronic rather than acute LD50 values.

- The effect varies depending upon how the chemical is administered, such as oral versus dermal administration.

A related value that is often quoted is the lethal dose low (LDLO) which is the lowest dose per unit of body weight (typically in mg kg−1) of a chemical known to have produced death in a particular receptor, such as a human or rat.

Start of Table

Table 2 Examples of oral toxicity in rats.

| LD50/mg kg−1 body weight | Examples | Classification |
| --- | --- | --- |
| less than 25 | arsenic(III) oxide As2O3 | very toxic |
|  | sodium cyanide NaCN |  |
|  | thallium(I) sulfate Tl2SO4 |  |
| 25 to 200 | sodium nitrite NaNO2 | toxic |
|  | sodium fluoride NaF |  |
| 200 to 2000 | arsenic As | harmful |
|  | sodium nitrate NaNO3 |  |
|  | aluminium(III) fluoride AlF3 |  |
|  | indium(III) chloride InCl3 |  |

End of Table

Start of ITQ

- Compare: (a) the toxicity of As with As2O3 and (b) the various sodium salts, what does this suggest?

- (a) The toxicity of As is lower compared to As2O3 which suggests that the oxidation number, often referred to as the oxidation state of an element, is important.

(b) The higher toxicity of NaCN compared to say NaNO2 suggests that the toxicity is determined by a contribution from each component ion present in an ionic compound, furthermore as this is oral toxicity these compounds will dissociate upon dissolution in the saliva or stomach acids. Indeed cyanide salts are generally very toxic compounds principally due to the cyanide anion.

End of ITQ

For most kinds of toxicity, it is generally assumed that there is a dose below which no adverse effects will occur. For chemicals that give rise to known toxicological effects, a tolerable daily intake (TDI), over the whole lifetime without causing harm, can be derived as follows:

Start of Equation

(Equation 2)

End of Equation

or

Start of Equation

(Equation 3)

End of Equation

where UF is an uncertainty factor.

The NOAEL, no observable adverse effect level, defines the level of exposure to a chemical at which there is no biologically or statistically significant increase in the frequency or severity of any adverse effects in the exposed population compared with a control group. The closely related LOAEL, lowest observable adverse effect level, is the level where adverse effects are observed.

The guideline value (GV) is then calculated from the TDI as follows:

Start of Equation

(Equation 4)

End of Equation

where bw = body weight, taken as 60 kg for adults, 10 kg for children and 5 kg for infants, p = fraction of the TDI allocated to drinking water, C = daily drinking water consumption (2 litres for adults, 1 litre for children, 0.75 litre for infants).

Toxicological information is usually found within the Materials Safety Data Sheet (MSDS) for commercial chemicals on the websites of chemical suppliers such as Fisher Scientific or Sigma Aldrich.

Start of ITQ

- Problems have historically been reported from drinking well water polluted at 100 mg NO3− per litre. Assume the toxicity is due to the nitrate anion and the oral LDLO for sodium nitrate is 22.5 mg kg−1 for an infant, would a typical infant drink enough polluted water to be in any potential danger? Assume a 5 kg infant as suggested earlier and that an infant normally drinks 150 ml per kg per day.

- Assuming 5 kg infant, so LDLO = 22.5 × 5 mg = 112.5 mg of NaNO3.

Start of Equation

(Equation 5)

End of Equation

So, NO3− LDLO = 112.5 × 0.729 mg = 82 mg

For polluted water containing NO3− at 100 mg l−1 to reach an LDLO of 82 mg requires drinking water of

Start of Equation

(Equation 6)

End of Equation

to risk a potentially lethal acute dose.

Normally, an infant drinks 5 × 150 ml per day = 750 ml = 0.75 l.

Therefore, the infant would have been within 10% of a potentially harmful dose. However, Table 1 illustrates that the nitrate concentration is now not observed as high as 100 mg l−1 in the EU countries because the European Commission regulates the maximum amount of nitrate at 50 mg l−1.

End of ITQ

## Summary of Section 1

- Drinking water contains a mixture of anions and cations which are monitored and managed to avoid adverse health or environmental effects.

- The toxicity of a chemical to a receptor can be illustrated by a dose-response curve.

- The LD50 is the lethal dose responsible for killing 50% of the receptor population. The LC50 is the analogous lethal concentration.

- Toxicological effects observed in the short-term are termed acute while chronic effects arise from prolonged exposure.

- The lethal dose low (LDLO) is the lowest dose per unit of body weight of a chemical known to have produced death in a particular receptor.

- Tolerable daily intake or guideline values are often set for chemicals in drinking water.

## 2 Anions in water

There are several anions commonly present in water that require monitoring and management to avoid harm to human health and the environment as you saw in Table 1 and Activity 1. For example, fluoride is important in dental health as it forms a coating of the mineral fluorapatite on teeth which resists decay. However, if levels of fluoride are too high in drinking water then health problems may result. You will also study here nitrate, arsenate, and phosphate.

## 2.1 The nitrogen cycle

Cycling of nitrogen and its compounds through the environment involves a delicate balance of redox, atmospheric and biological processes (Figure 4) generally involving water as a solvent. Plants require nitrogen, which is absorbed in the form of nitrate or ammonium ions, for the synthesis of nitrogenous organic compounds, such as amino acids, which are incorporated into the tissues of the plant. However, some of the intrinsic nitrogen is lost upon removing a crop from the soil. This must be replaced to maintain the fertility of the soil.

Start of Figure

Figure 4 The chemicals present within the nitrogen cycle.

View description - Figure 4 The chemicals present within the nitrogen cycle.

End of Figure

Nitrogen has a versatile redox chemistry and displays several oxidation numbers in Figure 4.

Start of ITQ

- What are the oxidation numbers of the nitrogen in ammonia (NH3), nitrogen gas, nitrite (NO2−) and nitrate (NO3−)?

- The oxidisation number of hydrogen is generally +1 and oxygen is generally −2. The oxidation numbers of nitrogen in these compounds aree −3, 0, 3 and +5, respectively, to maintain the charge seen on the compounds. Note nitrogen compounds display oxidation numbers ranging from −3 to +5.

End of ITQ

Like other elements in the second row of the Periodic Table, the nitrogen atom can form double bonds both to other nitrogen atoms and to atoms of some other elements of the second row, such as boron, carbon and oxygen.

Start of ITQ

- Determine the resonance forms in the Lewis structure of nitrite.

- There are two resonance forms (Structure 1).

Start of Chemistry

Structure 1

End of Chemistry

End of ITQ

### 2.1.1 Natural nitrogen fixation

Despite a vast reservoir of nitrogen being readily available in the air, green plants cannot use it because of the high dissociation energy of the dinitrogen bond.

Start of ITQ

- What is the bond order in dinitrogen, N2?

- Three as dinitrogen contains a triple bond, N≡N.

End of ITQ

Green plants depend on nitrogen fixation - the combination of atmospheric nitrogen with hydrogen and oxygen to form ammonium compounds or nitrates. On the roots of peas, beans and other members of the legume family, there are nodules (Figure 5), inside which live nitrogen-fixing bacteria of the rhizobia group. These bacteria fix about 108 tonnes of nitrogen per year worldwide, which is approximately 60% of all nitrogen fixed. This is a symbiotic relationship, with the bacteria providing the plant with nitrogen compounds, and the plant supplying nutrients to the bacteria.

Start of Figure

Figure 5 Root nodules on a pea plant containing nitrogen-fixing bacteria.

View description - Figure 5 Root nodules on a pea plant containing nitrogen-fixing bacteria.

End of Figure

To bring about cleavage of the nitrogen molecule requires a high energy input. Indeed, two molecules of the energy-transfer agent adenosine triphosphate (ATP; Section 3.3.2) are needed to bring about transfer of each electron. The reaction is catalysed by the enzyme nitrogenase, a complex molecule that incorporates molybdenum, iron and sulfur.

Start of ITQ

- How many electrons are transferred when converting nitrogen to nitrate?

- The oxidation number change is 0 (N2) to +5 (NO3−) suggesting the transfer of five electrons.

End of ITQ

Start of ITQ

- So how many molecules of ATP are needed to provide the energy for this conversion?

- Each electron transfer requires two molecules of ATP, so ten ATP molecules in total.

End of ITQ

Nitrogen compounds are produced in several other processes, the most obvious being for fertiliser, either farmyard manure or synthetic, such as ammonium nitrate (NH4NO3). Atmospheric lightning also causes some combination of oxygen and nitrogen (Equation 7) which forms nitrogen monoxide, which after further reactions leads to the passage of nitrogen into the soil as nitrates dissolved in rainwater.

The formation of gaseous oxides of nitrogen, NOx, from coal burning and internal combustion engines, is a process more commonly associated with detrimental environmental effects. So it should also be included.

Start of Equation

N2(g) + O2(g) = 2NO(g)

(Equation 7)

End of Equation

The nitrogen cycle is completed by plant death, decay and bacterial denitrification, which returns nitrogen to the seas and the atmosphere. Originally fertilisers with a high nitrogen and phosphorus content originated from guano or bird excrement. For many years, naturally occurring sodium nitrate, NaNO3, from Chile was the main raw material for producing fertilisers.

### 2.1.2 Ammonia and synthetic nitrogen fixation

Ammonia is a colourless gas with a very strong characteristic smell. It was first produced industrially by the Haber-Bosch process in Germany (Equation 8).

Start of Equation

(Equation 8)

End of Equation

At room temperature the reaction is very slow, which means industrial processes must operate at high temperature (400-450 °C) and high pressure (8-35 MPa) and also require the presence of an iron catalyst. The fertilisers ammonium nitrate, NH4NO3, and ammonium sulfate, (NH4)2SO4, are manufactured by treating ammonia with either nitric or sulfuric acid, respectively.

Nitrogen is the first element of the second row of the Periodic Table to have a non-bonded pair of electrons in its normal valency state; this is typified by the ammonia molecule (Structure 2). Consequently, ammonia is a reasonably strong Lewis base (electron donor), particularly towards transition metal ions.

Start of Figure

Structure 2

End of Figure

Nitrogen is also among the most electronegative elements and this affects both the physical properties and reactivities of its compounds.

Start of ITQ

- Consider the boiling temperatures of the hydrides on descending Group 15: NH3, −33.4 °C; PH3, −87.7 °C; AsH3, −62.4 °C; SbH3, −18.4 °C. Why does ammonia have an uncharacteristically high value?

- Ammonia has a higher than expected value due to the extra intermolecular forces or hydrogen bonds between its molecules.

End of ITQ

Watch Video 1 and then answer the question following it.

Start of Media Content

Video content is not available in this format.

Video 1 The reaction of gaseous ammonia with hydrochloric acid.

View transcript - Video 1 The reaction of gaseous ammonia with hydrochloric acid.

End of Media Content

Start of ITQ

- After watching Video 1, suggest an equation for the reaction of ammonia with hydrochloric acid.

- The white 'smoke' comprises small particles of ammonium chloride (Video 1):

Start of Equation

NH3(g) + HCl(g) = NH4Cl(s)

(Equation 9)

End of Equation

End of ITQ

Ammonia forms an alkaline solution in water, often used in household cleaners.

Start of Equation

NH3(g) + H2O(l) = NH4+(aq) + OH−(aq)

(Equation 10)

End of Equation

Liquid ammonia is additionally a widely used non-aqueous solvent. Now watch Video 2 and answer the question following it.

Start of Media Content

Video content is not available in this format.

Video 2 The dissolution of sodium in ammonia.

View transcript - Video 2 The dissolution of sodium in ammonia.

End of Media Content

Start of ITQ

- What is seen upon the dissolution of sodium in ammonia in Video 2?

- Alkali metals, such as sodium, dissolve reversibly to give blue solutions (in contrast to their more familiar vigorous reactions with water). The blue colour is thought to arise from electrons solvated by ammonia molecules.

End of ITQ

### 2.1.3 Ammonium nitrate fertiliser

Nitric acid has many uses, but most is combined with ammonia to produce the important fertiliser ammonium nitrate. Nitric acid, HNO3, is made on a huge industrial scale by the Ostwald process: involving ammonia oxidation in two stages over a platinum metal catalyst, first to NO and then to NO2 (see Video 3):

Start of Equation

(Equation 11)

End of Equation

Start of Equation

(Equation 12)

End of Equation

Start of Media Content

Video content is not available in this format.

Video 3 The oxidation of ammonia.

View transcript - Video 3 The oxidation of ammonia.

End of Media Content

Start of ITQ

- In Video 3 why did the platinum catalyst continue to glow?

- The exothermic reaction in Equation 10 heated the platinum.

End of ITQ

The NO2 is then dissolved in water to give a concentrated aqueous solution of the acid, and the NO produced in this step is recycled back into earlier stages. The overall reaction can be summarised by the following equation:

Start of Equation

(Equation 13)

End of Equation

The anhydrous acid can be produced by distillation, and is a colourless pungent liquid.

Structure 3 shows the planar nitric acid molecule:

Start of Figure

Structure 3

End of Figure

In dilute aqueous solution, nitric acid behaves as a typical strong acid, dissociating completely into H+ and NO3− ions.

Start of ITQ

- Predict using valence-shell electron-pair repulsion, VSEPR theory (valence-shell electron-pair repulsion theory) t the shape of nitrate, NO3−.

- The Lewis structure and structural formula of one resonance form of NO3− are in Structures 4 and 5. This adopts a planar shape because there are only three repulsion axes and no non-bonding pairs:

Start of Figure

Structures 4 (left) and 5 (right)

End of Figure

End of ITQ

Ammonium nitrate fertiliser must be packed and handled with extreme care; in addition to being thermally unstable at high temperatures, its decomposition is catalysed by many inorganic and organic materials.

Strict regulations governing the storage and transportation of the chemical were introduced following explosions in 1947 aboard two American ships transporting fertiliser-grade ammonium nitrate to Europe. At the time of writing, in 2013, this remains the worst industrial accident in US history. In 2013 at Waco in Texas, a large explosion occurred at a fertiliser plant that stored ammonium nitrate.

Today, ammonium nitrate is used extensively in industrial explosives and propellants. For instance, commercial blasting explosive contains ammonium nitrate, fuel oil and TNT.

Video 4 shows that upon gentle heating ammonium nitrate decomposes.

Start of Media Content

Video content is not available in this format.

Video 4 Heating nitrates.

View transcript - Video 4 Heating nitrates.

End of Media Content

Start of ITQ

- Suggest an equation for the gentle heating of ammonium nitrate.

- Start of Equation

NH4NO3(s) = N2O(g) + 2H2O(l)

(Equation 14)

End of Equation

End of ITQ

However, upon heating above about 250 °C, an alternative explosive decomposition occurs:

Start of Equation

2NH4NO3(s) = 2NO(g) + N2(g) + 4H2O(g)

(Equation 15)

End of Equation

Potassium nitrate, known as saltpetre, is a component of gun powder (Video 4). The explosive material consists of sulfur and charcoal (a fuel), mixed with potassium nitrate (an oxidiser).

Start of Key Points

A simplified equation for the deflagration (a self-propagating burning surface reaction) of gunpowder is:

Start of Equation

2KNO3(s) + S(s) + 3C(s) = K2S(s) + 3CO2(g) + N2(g)

(Equation 16)

End of Equation

End of Key Points

In Videos 3 and 4 you have seen examples of the production of some of the many oxides of nitrogen, namely nitrogen monoxide, NO, nitrogen dioxide, NO2, and dinitrogen monoxide, N2O. It is noteworthy that in biology NO adopts several key roles such as in the body where NO plays an important role in the regulation of blood pressure.

Nitrates of almost all of the metallic elements are known. They are all soluble in water which means that they are highly mobile in the environment. Consequently the EU regulates the application of nitrogen containing fertilisers through the EU Nitrates Directive.

### 2.1.4 Nitrate in natural water

Nitrate in water arises from excessive fertiliser use, as a waste product from many organisms and natural decay. The nitrate level in natural water is important as excess nitrate may cause problems from eutrophication. This is when the ecological balance of a body of water such as a lake is disturbed by excessive growth of algae at certain times of year. As the weather gets colder, the growth ceases, and the algae sink and decay, consuming oxygen dissolved in the water. This can result in an unpleasant smelling lake (largely due to the production of hydrogen sulfide) and, in an extreme case, the fish in the lake can die from oxygen starvation. Figure 6 shows algal growth in eutrophic water.

Start of Figure

Figure 6 An example of eutrophic water in a lake.

View description - Figure 6 An example of eutrophic water in a lake.

End of Figure

In drinking water the recommended maximum level for nitrate provides a safeguard against the disorder methaemoglobinaemia, which is potentially fatal for infants younger than six months. The toxicity occurs because the nitrate is reduced to nitrite (NO2−) which then interferes with the mechanism of transporting oxygen around the body by the protein haemoglobin. This reduction of nitrate is often associated with bacteria.

Start of ITQ

- What is the change in the nitrogen oxidation number on going from nitrate to nitrite?

- The nitrogen is reduced from an oxidation number of +5 to +3.

End of ITQ

Excess nitrate can be removed in water treatment by ion-exchange chromatography (IEC, Figure 7) involving here water as the so-called mobile phase. IEC is based on a chromatography technique whereby dissolved species, or solutes, are adsorbed to varying extents onto the ionic sites of a so-called stationary phase which is an ion-exchange medium or resin (grey circle in Figure 7). One ionic species (the solute) is substituted for another from the stationary phase. If negatively charged ions are exchanged, it is called anion-exchange chromatography; the exchange of positively charged ions is called cation-exchange chromatography.

Start of Media Content

Video content is not available in this format.

Figure 7 Animation showing mechanism of an ion-exchange resin where nitrate (red spheres) exchange with chloride (green squares) ions. (There is no audio associated with this animation.)

View description - Figure 7 Animation showing mechanism of an ion-exchange resin where nitrate (red ...

End of Media Content

The stationary and mobile phases are chosen to selectively retain ionic species. The ionic strength of a solution is a function accounting for the concentration of all the different ions. By changing the ionic strength of the mobile phase, the ions in Figure 7 are eluted, or extracted into the mobile phase (here water), from the stationary phase. The ions bound by the stationary phase are eluted in order of the strength of binding, the most weakly bound ions being eluted first. The binding strength of the ions with the stationary phase depends on the differences in charge and charge density of the various ions present.

Here, nitrate ions are exchanged with chlorides on an ion-exchange resin (represented as R* in Equation 17 and as grey circles in Figure 7, see also Section 2.2.1):

Start of Equation

R*-Cl + NO3−(aq) = R*-NO3 + Cl−(aq)

(Equation 17)

End of Equation

Beads of the medium or ion-exchange resin contain a covalently bound group holding a positive charge, for example R−N(CH3)4+X− where R is a polymeric resin and X− is an anion which can be exchanged.

Start of ITQ

- Why do you think the ion-exchange resin is regenerated by eluting with a concentrated sodium chloride solution? (See Figure 7)

- With a high concentration of chloride ions the nitrate ions are exchanged and the initial chloride form of the ion-exchange resin is regenerated:

Start of Equation

R*-NO3 + Cl−(aq) = R*-Cl + NO3−(aq)

(Equation 18)

End of Equation

End of ITQ

## 2.2 Arsenic pollution in the environment

Inorganic arsenic is naturally present at high levels in the groundwater of a number of countries, including Bangladesh, China, India, Mexico, and the USA. Note when articles discuss arsenic levels in natural waters they are talking about the oxoanions arsenite, AsO33−, and arsenate, AsO43−.

Start of ITQ

- What are the oxidation numbers of arsenic in arsenite and arsenate?

- Arsenate(III) and arsenate(V) or +3 and +5 respectively, which are bioavailable forms of arsenic.

End of ITQ

The World Health Organization (2015) suggests a maximum safe level for drinking of arsenic of only 10 µg l−1.

Start of ITQ

- Which vital element do you think arsenic might replace in the body?

- Phosphorus displays similar chemistry as it is above arsenic in Group 15 and is indeed replaced by arsenic in organs and tissues within the body. For example, phosphorus can be substituted by arsenic in adenosine triphosphate (ATP) which plays a fundamental role in metabolism.

End of ITQ

In natural waters one of the main sources of arsenic oxoanions is believed to be the weathering of pyrite, FeS2, minerals which contain a trace of arsenic. Weathering also oxidises some of the pyrite to form iron(III) hydroxide, Fe(OH)3, and sulfate. Remarkably, this iron(III) hydroxide then has a capacity to exchange its surface hydroxide anions and so is able to adsorb arsenite and arsenate anions from natural water effectively restricting their mobility in the environment. However, this adsorption on iron(III) hydroxide is pH-dependent, and so the arsenate ions can be re-mobilised into the environment by a pH change.

Start of ITQ

- Which other anion in water do you predict iron(III) hydroxide might adsorb?

- Phosphate, PO43−, is similar to arsenate as in both anions the central elements are in Group 15. So phosphate can be similarly absorbed.

End of ITQ

### 2.2.1 Removal of arsenic oxoanions from drinking water

To remove arsenite and arsenate anions from water one method is to add particles of iron(III) hydroxide and allow time for the anion exchange to take place. However, where the water is pumped directly from a well for use, a better solution is to use a synthetic ion-exchange medium or resin as in Figure 8 and similar to what you previously saw for the removal of nitrate from water.

Start of Figure

Figure 8 (a) Diagram showing how an ion-exchange medium removes arsenic ions from water. (b) A village water pump in Bangladesh purified using ion-exchange chromatography.

View description - Figure 8 (a) Diagram showing how an ion-exchange medium removes arsenic ions from ...

End of Figure

For arsenic contamination, the ion-exchange medium exchanges chloride ions, Cl−, for arsenate ions, AsO43−. Ion-exchange is almost instantaneous, a big advantage over adsorption processes using iron(III) hydroxide. After a few months the medium becomes saturated with arsenate ions and so is regenerated by eluting with a sodium chloride solution. This process presupposes a safe means of disposing of the eluted arsenate containing solution.

In practice, it has been observed that oxidation is beneficial before the removal of arsenic oxoanions. What is the chemistry behind this observation?

Oxidation favours formation of arsenic acid, H3AsO4, which is a stronger acid than arsenous acid, H3AsO3.

Start of ITQ

- At neutral pH, which of the oxoanions, arsenite AsO33− and arsenate AsO43− will bind most strongly to a cation-exchange resin?

- Arsenate, AsO43−, binds more strongly to a cation-exchange resin. Arsenate will be more fully deprotonated at neutral pH because arsenic acid is a stronger than arsenous acid. Consequently there will be a higher negative charge and greater electrostatic attraction to the cationic resin.

End of ITQ

## Summary of Section 2

- Nitrogen in the atmosphere is relatively inert due to its strong triple bond.

- Bacteria in the roots of plants fix nitrogen from the atmosphere.

- Industrially the Haber-Bosch process fixes nitrogen:

Start of Equation

N2(g) + 3H2(g) = 2NH3(g)

(Equation 8)

End of Equation

- Nitric acid is produced by the Ostwald process:

Start of Equation

(Equation 11)

End of Equation

Start of Equation

(Equation 12)

End of Equation

Start of Equation

(Equation 13)

End of Equation

Nitric acid is then used to make ammonium nitrate fertiliser.

- Excess levels of nitrate, NO3−, in water can result in eutrophication in the environment. While high levels of nitrate in drinking water are dangerous for infants because the nitrate can be reduced to nitrite in the body which may interfere with oxygen binding by haemoglobin.

- Arsenic levels in natural waters correspond to the oxoanions arsenite, AsO33-, and arsenate, AsO43-.

- Excess nitrate or arsenate can be removed from water by ion-exchange chromatography.

- Fluoride is important in dental health but if levels are too high in drinking water then health problems may result.

## 3 Phosphorus compounds in water

Phosphorus compounds are hugely important in nature, for example deoxyribonucleic acid (DNA) is a polymer of alternating phosphate and deoxyribose groups. In this section you will see that phosphorus forms firstly relatively simple anions such as phosphate, PO43-. Then you will explore the chemistry of polyphosphates such as adenosine triphosphate (ATP) that was mentioned in Section 2.1.1.

## 3.1 Phosphates in the environment

Most detergents or surfactants, comprise long molecules with hydrophobic (water-repelling) and hydrophilic (water-attracting) parts as indicated in the example in Structure 6. The basic action is for the organic hydrophobic section to bury itself in the dirt, and the hydrophilic section then allows the insoluble dirt to 'dissolve' in water.

Start of Figure

Structure 6

End of Figure

Detergents are used in combination with so-called builders, which soften hard water. Hard water contains significant concentrations of calcium and magnesium salts, which replace the sodium ions in the detergent molecule. The dipositive metal ions cause the long detergent molecules to clump together and precipitate out as a scum.

Start of Chemistry

Structure 7

End of Chemistry

Sodium tripolyphosphate (Structure 7 see also Section 3.2.1), was used in detergents to complex magnesium and calcium ions and hence remove them from solution. Due to environmental concerns over such polyphosphates acting as nutrients for algae (leading to eutrophication), detergent manufacturers have phased out the use of so-called phosphate builders. Substitute detergent builders include zeolites, such as ZSM-5 NanAlnSi96−nO192·16H2O (0 < n < 27), which are porous, non-eutrophic materials that exchange sodium ions for calcium ions and hence soften water.

Start of Figure

Figure 9 An environmentally friendly phosphate-free washing powder.

View description - Figure 9 An environmentally friendly phosphate-free washing powder.

End of Figure

### 3.1.1 Phosphoric acid and fertilisers

Phosphoric acid is manufactured from phosphate minerals, and the pure acid forms low-melting crystals (Tm 42 °C). Commercial phosphoric acid is 85% phosphoric acid in water; this forms a syrup because the acid molecules are hydrogen-bonded to water molecules.

Most phosphoric acid is used to manufacture fertiliser. For example, so-called triple superphosphate fertilisers are manufactured from calcium phosphate-containing rock, such as Ca3(PO4)2, and phosphoric acid:

Start of Equation

Ca3(PO4)2 + 4H3PO4 = 3Ca(H2PO4)2

(Equation 19)

End of Equation

The farming of crops depletes soils of essential nutrients, such as phosphate and nitrate, which are replenished by applying fertilisers containing suitable inorganic compounds. Consequently, eutrophication from excess phosphate and nitrate in rivers and lakes remains an issue but now often occurs due to water run-off from agricultural land.

Figure 10 shows the excessive algal growth in the Mediterranean arising from excess nutrients in the water. These nutrients are regulated under the EU Water Framework Directive. For example, agricultural practices are altered to minimise pollution from applying nutrients to soils.

Start of Figure

Figure 10 Excessive algal growth in the Mediterranean, shown in red (most dense) through orange, yellow and green to blue (least dense).

View description - Figure 10 Excessive algal growth in the Mediterranean, shown in red (most dense) ...

End of Figure

Phosphate can be removed from water by precipitation with lime, Ca(OH)2, forming hydroxyapatite (Equation 20), the same material which comprises bone and teeth:

Start of Equation

5Ca2+(aq) + 3PO43− + OH− = Ca5(PO4)3(OH)

(Equation 20)

End of Equation

Phosphate is recovered from wastewater during chemical sewage treatment, often as struvite, NH4MgPO4.6H2O, which can then be used as a fertiliser. Phosphate can also be recovered during biological water treatment where it is used in the growth of cell membranes, a process which ultimately forms biological solids or so-called sludge which can be used as a fertiliser.

## 3.2 Oxoacids

Many p-block elements form oxoacids but here the focus will be on those of phosphorus with a few illustrative examples of other elements.The chemistry of phosphorous compounds in natural water and the body is not quite as simple as it has been treated so far, so the topic will be expanded upon here.

For instance, there are several oxoacids of phosphorus. The three most important are phosphoric acid, H3PO4, phosphorous acid, H3PO3, and hypophosphorous acid, H3PO2. Table 3 lists other names for these acids.

Start of ITQ

- What is the oxidation number of phosphorus in H3PO4, H3PO3, and H3PO2?

- The oxidation number is +5, +3 and +1, respectively.

End of ITQ

Therefore H3PO4, H3PO3, and H3PO2 are also called phosphoric(V), phosphoric(III) and phosphoric(I) acid respectively.

Start of Table

Table 3 Common phosphorus oxoacids and their anions.

| Formula and common name | Common anion name | Structure |
| --- | --- | --- |
| H3PO4 phosphoric acid or orthophosphoric acid | phosphate or orthophosphate | Start of Figure End of Figure |
| H3PO3 phosphorous acid or phosphonic acid | phosphite or phosphonate | Start of Figure End of Figure |
| H3PO2 hydrophosphorous acid or phosphinic acid | hypophosphite or phosphinate | Start of Figure End of Figure |
| H4P2O7 diphosphoric acid | diphosphate | Start of Figure End of Figure |
| (HPO3)n (in the limit where n = ∞) metaphosphoric acid | metaphosphate | Start of Figure End of Figure |

End of Table

Some acids are polyprotic (or taking the alternative viewpoint polybasic) meaning they ionise stepwise, unlike hydrochloric acid, HCl, which is a monoprotic acid. Note only the protons attached to oxygen are ionisable. Phosphoric acid is triprotic undergoing three successive ionisations:

Start of Equation

H3PO4(aq) = H+(aq) + H2PO4−(aq)

(Equation 21)

End of Equation

Start of Equation

H2PO4−(aq) = H+(aq) + HPO42−(aq)

(Equation 22)

End of Equation

Start of Equation

HPO42−(aq) = H+(aq) + PO43−(aq)

(Equation 23)

End of Equation

As phosphoric acid is triprotic, it can form three series of salts with a metal such as sodium: the dihydrogen phosphate, the hydrogen phosphate and the normal phosphate.

Start of ITQ

- What would you expect to be the sodium salts of phosphorous acid, H3PO3?

- Phosphorous acid is diprotic, forming the phosphite salts NaH2PO3 and Na2HPO3. Note one of the hydrogen atoms in H3PO3 is directly attached to the phosphorus and consequently does not undergo ionisation.

End of ITQ

Note that Equations 21-23 have the form:

Start of Equation

acid(l) + base(2) = acid(2) + base(l)

(Equation 24)

End of Equation

The pairs acid(1)/base(1) and acid(2)/base(2) are called a conjugate acid and base. Thus, H3O+ and H2O are a conjugate acid and base pair; so are H3PO4(aq) and H2PO4−(aq). An acid is transformed to its conjugate base by losing a proton and vice versa.

### 3.2.1 Polyacids

A large variety of phosphorus acids are derived from 'polyacids', which contain two or more acidic phosphorus centres (see Section 3.3).

Oxoacids by definition contain a covalent AO-H bond, which can dissociate to give a proton and an oxoanion:

Start of Equation

AO-H = AO− + H+

(Equation 25)

End of Equation

There may also be one or more terminal oxygen atoms, so the general formula of oxoacids is A(O)t(OH)n, where t can equal 0. By this formulation, sulfuric acid, H2SO4, is written as S(O)2(OH)2 (where t = 2, n = 2), and boric acid as B(OH)3 (where t = 0, n = 3).

Start of ITQ

- What are the values of t and n for phosphoric acid?

- From Table 3, the formula of phosphoric acid can be rewritten as P(O)(OH)3, giving t = 1 and n = 3.

End of ITQ

These covalent hydroxo compounds have available a wide range of structural possibilities, which is the reason for the existence of a relatively large number of oxoacids. The variables are as follows:

- There may be several -OH groups in the acid, each one of which can dissociate to form a proton and an oxoanion. For example, in the three successive ionisations of phosphoric acid, H3PO4 (Equations 21-23): each of the species on the left-hand side of the three equations is a different oxoacid, and each of the equilibrium has a different dissociation constant.

- The equilibrium constant for dissociation of the first proton (stage 1), or the 'first dissociation constant', is given the symbol K1 (7.5 × 10−3 mol l−1). The second dissociation constant is K2 (6.2 × 10−8 mol l−1). The third dissociation constant is given the symbol K3 (1.0 × 10−12 mol l−1).

- Oxoacids may undergo condensation reactions to form dimers, trimers and polymers. The term 'condensation' refers to the reaction of two or more molecules to form a larger molecule, with the elimination of a small molecule, most often water. Thus, phosphoric acid, H3PO4, can self-condense to produce diphosphoric acid and triphosphoric acid:

Start of Figure

Equation 26

End of Figure

Start of Figure

Equation 27

End of Figure

It can also form higher polymers described by the general term 'metaphosphoric acid'.

- The central element, A, may exist in more than one oxidation number. Remember, oxygen stabilises high oxidation numbers. In fact, the range of oxidation numbers found in compounds with oxygen is wider than that with any other element except fluorine. Phosphorus, for example, forms oxoacids in oxidation numbers +5, +3 and +1.

- A final complication, arising with sulfur, is that this Group 16 element can take the place of oxygen in an oxoacid, so that there is the possibility of one or more S-S bonds, in what is then called a thioacid.

### 3.2.2 Nomenclature of oxoacids

Traditionally oxoacid formulas are written with hydrogen first, which conceals the fact that hydrogen is often bonded to oxygen. The rarely used formula (OH)3PO is a more meaningful formulation of phosphoric acid than H3PO4. The nomenclature is further complicated by the fact that the inorganic acids and their organic derivatives also have different common names; for instance, phosphorous acid in inorganic chemistry becomes phosphonic acid for its organic derivatives. To help you through this topic the prefixes and suffixes are in bold italics and the most common name is always used.

Historically, where the central element forms oxoacids in two oxidation numbers:

- the higher state is indicated by the suffix -ic

- the lower state is indicated by the suffix -ous.

For example phosphoric acid, H3PO4, and phosphorous acid, H3PO3, have phosphorus oxidation numbers +5 and +3 respectively.

If more than two oxidation numbers are involved, the prefixes per- and hypo- are used as well:

- per- denotes the highest oxidation number

- hypo- denotes the lowest oxidation number.

For example the oxoacids of chlorine are shown in Table 4.

Start of Table

Table 4 The oxoacids of chlorine.

| Formula | Oxidation number | Name |
| --- | --- | --- |
| HClO4 | +7 | perchloric |
| HClO3 | +5 | chloric |
| HClO2 | +3 | chlorous |
| HClO | +1 | hypochlorous |

End of Table

Oxoanions derived from -ic acids are given the ending -ate and from -ous acids are given the ending -ite.

Start of ITQ

- To practise, name the following anions OCl−, ClO4− and NO2−.

- The ions are hypochlorite, perchlorate and nitrite.

End of ITQ

Condensed forms of oxoacids are also distinguished by prefixes:

- ortho- refers to the 'monomeric', or most highly hydroxylated, form

- meta- refers to the 'polymeric', or least highly hydroxylated, form

- di- and tri- in this context logically refer to 'dimers' or 'trimers'.

The oxoanions follow this labelling convention, for example orthophosphates, PO43−, diphosphates, P2O74−, and triphosphates, P3O105−. Additionally, the prefix cyclo- or catena- distinguish cyclic from linear condensed anions, respectively.

### 3.2.3 Prediction of formulas

For an element in its highest oxidation number (and sometimes others), it is possible to predict the formula of its orthoacid from its coordination number considerations. The condensed oxoacid formulas are then easily derived by subtracting the appropriate number of water molecules.

Third and fourth-row elements prefer four-coordination in their oxoanions. For example, using the oxidation number approach, you can see that when phosphorus(V) coordinates four O2− ions to form a complex ion of stoichiometry PO4, the resultant charge on this oxoanion is (+5 − 8) = −3. Thus, the formula of the corresponding neutral oxoacid is H3PO4.

Start of ITQ

- Predict the formula of the oxoacid formed by sulfur(VI).

- Sulfur(VI) coordinates four O2− ions to form a complex ion of stoichiometry SO4, with the resultant charge (+6 − 8) = −2, so the oxoacid is H2SO4.

End of ITQ

The chlorine(VII) oxoanion, with stoichiometry ClO4, has the charge (+7 − 8) = −1, so only one proton is required for the formation of the neutral oxoacid HClO4.

For oxoanions of the second Period three-coordination is the norm, as it allows for the formation of a planar assembly with extensive π bonding, e.g. carbonate, CO32−.

The above arguments often fail to predict the formulas of oxoacids of elements in lower oxidation numbers, because the preferred coordination number is either not achieved, or is achieved only by formation of a direct link between the central atom and hydrogen.

## 3.3 Condensation of oxoacids

The tendency for an oxoacid to polymerise by condensation is most marked in the less acidic (more highly hydroxylated) acids. Consequently there are many stable condensed forms of silicic and boric acid which are found in minerals.

Condensation is most marked in structures where the charge on the uncondensed anion is high, because it is able to reduce the charge density on the anion. For example SiO44− dimerises as follows:

Start of Figure

Equation 28

End of Figure

In the monomer there are four negative charges for four oxygen atoms; in the dimer there are six negative charges and seven oxygen atoms; in the trimer (Structure 8) there are eight negative charges and ten oxygen atoms.

Start of Figure

Structure 8

End of Figure

In the limiting case of the infinite polymer, there are two negative charges to every three oxygen atoms.

Start of ITQ

- What is the repeat unit in Structure 8 upon double protonation of the individual unit?

- In the case of protonation by two H+ per Si, the repeat unit is [H2SiO3].

End of ITQ

This is the structural unit found in the pyroxene minerals (Figure 11). Here shared SiO4 tetrahedra can be assembled into chains, double chains, sheets, rings and three-dimensional networks to give an amazing variety of structures for crystalline silicate minerals.

Start of Figure

Figure 11 The mineral pyroxene.

View description - Figure 11 The mineral pyroxene.

End of Figure

### 3.3.1 Polyphosphates

Phosphate tetrahedra, PO43−, can link up by oxygen-sharing to give polyphosphates in the form of rings and chains (Figures 12 and 13). The phosphates, unlike the silicates, contain a central atom with a maximum valency of five. Thus, the maximum number of oxygen atoms that each tetrahedron can share is three, since there must always be one vertex of the tetrahedron that is a terminal oxygen, bound as P=O.

Start of Figure

Figure 12 (a) Phosphorous(III) and (b) phosphorous(V) oxide.

View description - Figure 12 (a) Phosphorous(III) and (b) phosphorous(V) oxide.

End of Figure

Start of ITQ

- Consider phosphoric oxide, P4O10 (Figure 12b), how many P-O-P linkages does each phosphorus exhibit?

- Each phosphorus atom forms the maximum three P-O-P linkages.

End of ITQ

Condensed phosphates can be formed if phosphoric oxide is treated with limited amounts of water; or by dehydrating phosphorus oxoacids or their salts by heating.

Two molecules of phosphoric acid can condense by loss of a water molecule; the two tetrahedra share one oxygen, giving an acid of formula H4P2O7, known as 'pyrophosphoric', or (more correctly) diphosphoric acid. In practice, this can be obtained by heating phosphoric acid ('pyro' comes from the Greek word for fire). Continuation of this process gives triphosphoric acid, H5P3O10, and, eventually, chain polymers called metaphosphoric acids, which contain repeating [HPO3] units. In Figure 13 the ring polymers which are also shown are also called metaphosphoric acids.

Start of Figure

Figure 13 Metaphosphoric acid chains and rings.

View description - Figure 13 Metaphosphoric acid chains and rings.

End of Figure

The P-O-P link in polyphosphates is readily hydrolysed; in excess water, metaphosphates revert to orthophosphate. So, unlike the condensed silicates, polyphosphates are never found as minerals. The hydrolysis of polyphosphates is an important source of energy within the body (Section 3.3.2).

Sodium polyphosphates are the best known; the general reaction for their formation is the dehydration of sodium dihydrogen phosphate by heating. The temperature of dehydration controls the nature of the product (Figure 14).

Start of Figure

Figure 14 The dehydration of sodium dihydrogen phosphate at various temperatures.

View description - Figure 14 The dehydration of sodium dihydrogen phosphate at various temperature ...

End of Figure

- Partial dehydration at low temperature (c. 250 °C) produces disodium dihydrogen diphosphate, Na2H2P2O7, a substance used in baking powders as a slow-acting acid for the controlled release of CO2 gas, which produces the aerated texture of cakes.

- Long-chain polyphosphates are produced by heating NaH2PO4 above 250 °C.

- The sodium salt Na3P3O9, containing the cyclic P3O93− anion, is formed when NaH2PO4 is heated to 600-640 °C and the melt then maintained at 500 °C.

- High-temperature dehydration (800 °C) above the melting temperature of NaH2PO4 (628 °C) yields a liquid with very high relative molecular mass, which gives slightly soluble solids of formula (NaPO3)n:

Start of Equation

nNaH2PO4 = (NaPO3)n + nH2O

(Equation 29)

End of Equation

- Heating together a 2 : 1 mixture of Na2HPO4 and NaH2PO4 at 450 °C produces a chain of only three phosphate units:

Start of Equation

2Na2HPO4 + NaH2PO4 = Na5P3O10 + 2H2O

(Equation 30)

End of Equation

This triphosphate ion, P3O105−, is illustrated in Structure 9.

Start of Figure

Structure 9

End of Figure

### 3.3.2 Adenosine triphosphate

After deoxyribonucleic acid, DNA (which is a phosphodiester), adenosine triphosphate (ATP, Structure 10), is probably the most important phosphorus-containing molecule in the human body.

Start of Figure

Structure 10

End of Figure

ATP is used to drive many biochemical reactions and cellular processes that require the input of energy; these include cell division and muscle contraction.

Energy is obtained from ATP when it is hydrolysed to adenosine diphosphate (ADP) and free phosphate ions. Equation 31 is thermodynamically favourable, having a free energy change, , of about −140 kJ mol−1.

Note that when bonded together the adenine and ribose rings are referred to as adenosine.

Start of Figure

Equation 31

End of Figure

ATP is synthesised by the reverse process - the addition of phosphate to ADP. The energy input for this reaction comes from the breakdown of organic fuel molecules, such as glucose.

The negative charge on ATP, ADP and DNA is counterbalanced by cations, usually Mg2+. Hence, both ATP and DNA may be regarded as magnesium complexes.

## Summary of Section 3

- Phosphate is used in fertilisers and excess phosphate in natural water can cause eutrophication.

- Phosphorus has several acids including phosphoric and phosphorus acid. Note the higher oxidation number, or oxidation state, is indicated by the suffix -ic and the lower oxidation state by the suffix -ous.

- Generally for oxoacids if more than two oxidation numbers are involved, the prefixes per- and hypo- are used as well where per- denotes the highest oxidation number and hypo- the lowest oxidation number.

- Some acids of phosphorus are polyprotic. For instance, phosphoric acid:

Start of Equation

H3PO4(aq) = H+(aq) + H2PO4−(aq)

(Equation 21)

End of Equation

Start of Equation

H2PO4−(aq) = H+(aq) + HPO42−(aq)

(Equation 22)

End of Equation

Start of Equation

HPO42−(aq) = H+(aq) + PO43−(aq)

(Equation 23)

End of Equation

- Deprotonation of an acid yields its conjugate base or anion. In Equation 21 H2PO4− is the conjugate base of phosphoric acid.

- Oxoacids and oxoanions can polymerise by condensation.

- Phosphorus also forms polyacids containing two or more acidic phosphorus centres.

- Polyphosphate can form chain or ring polymers.

- Adenosine triphosphate (ATP) stores energy in the body which is released upon its hydrolysis to adenosine diphosphate (ADP).

- The negative charges on ATP, ADP and DNA are counterbalanced by cations, usually magnesium.

## 4 Cations in water

Sodium, potassium, magnesium and calcium are found in natural water (Table 1). The most important sources of calcium are the mineral deposits of calcium carbonate, CaCO3, which are formed from the fossilised remains of long-dead marine organisms. Examples include the minerals limestone and chalk.

Dissolved carbon dioxide makes rainwater slightly acid.

Start of ITQ

- Suggest an equation for the dissolution of carbon dioxide in water.

- Start of Equation

CO2(g) + H2O(l) = H2CO3(aq)

(Equation 32)

End of Equation

A carbonic acid solution is weakly acidic:

Start of Equation

H2CO3(aq) = H+(aq) + HCO3−(aq)

(Equation 33)

End of Equation

Consequently, the rock limestone is very slightly soluble in rain:

Start of Equation

CaCO3(s) + H+(aq) = Ca2+(aq) + HCO3−(aq)

(Equation 34)

End of Equation

End of ITQ

This accounts for the levels of both calcium and bicarbonate (HCO3−) ions seen in natural water samples (Table 1). Furthermore, this dissolution of calcium carbonate contributes to the hardness of water.

Water hardness is often due to the presence of dissolved calcium and magnesium salts. For instance, calcium hydrogen carbonate upon heating is converted to calcium carbonate. This calcium carbonate is insoluble and deposits in appliances, such as kettles.

Human derived acid rain can weather minerals by, for instance, converting calcium carbonate (Figure 15) into calcium sulfate, CaSO4, leading to harder water. The resulting volume change leads to surface cracking and new conduits for water to percolate. Freezing of this water leads to further damage. Such acid rain can arise from the combustion of sulfur-containing fuels because this yields sulfur dioxide, SO2, which upon oxidation can yield sulfuric acid. Consequently sulfur compounds are removed from fuels before combustion where possible, often using zeolites.

Start of Figure

Figure 15 (a) Eroded stonework and (b) Limestone blocks at Wells cathedral, covered with a calcium sulfate crust, which flakes away exposing a friable surface that weathers rapidly.

View description - Figure 15 (a) Eroded stonework and (b) Limestone blocks at Wells cathedral, covered ...

End of Figure

Start of ITQ

- Suggest an equation for the reaction of calcium carbonate with sulfuric acid.

- Start of Equation

CaCO3(s) + H2SO4(aq) = Ca2+(aq) + SO42−(aq) + H2O(l) + CO2(g)

(Equation 35)

End of Equation

End of ITQ

## 4.1 Aqueous chemistry of aluminium

Aluminium is a metal forming an aqueous cation, unlike the non-metal boron found above it in Group 13. For example, hydrates of aluminium sulfate, Al2(SO4)3, can be made by dissolving bauxite, Al2O3.3H2O, in sulfuric acid and evaporating the solution. Dissolving such sulfates in water forms Al3+(aq) (Figure 16):

Start of Equation

Al2(SO4)3(s) = 2Al3+(aq) + 3SO42−(aq)

(Equation 36)

End of Equation

Start of Figure

Figure 16 The hexaaquaaluminium(III) complex ion.

View description - Figure 16 The hexaaquaaluminium(III) complex ion.

End of Figure

Start of ITQ

- What is the coordination geometry of aluminium in Figure 16?

- Al3+(aq) is shorthand for the octahedral coordination complex 
Al(H2O)63+.

End of ITQ

Careful addition of aqueous sodium hydroxide to this solution will first precipitate insoluble aluminium hydroxide:

Start of Equation

Al3+(aq) + 3OH−(aq) = Al(OH)3(s)

(Equation 37)

End of Equation

The oxide is produced by filtering and heating the hydroxide:

Start of Equation

2Al(OH)3(s) = Al2O3(s) + 3H2O(g)

(Equation 38)

End of Equation

Both oxide and hydroxide are unusual in being amphoteric. Hence they will first dissolve in and neutralise acids:

Start of Equation

Al(OH)3(s) + 3H+(aq) = Al3+(aq) + 3H2O(l)

(Equation 39)

End of Equation

Start of ITQ

- Watch Video 5 to determine how else an amphoteric hydroxide (or oxide) behaves.

Start of Media Content

Video content is not available in this format.

Video 5 The reaction of aluminium(III) ions with hydroxide ions.

View transcript - Video 5 The reaction of aluminium(III) ions with hydroxide ions.

End of Media Content

- It will dissolve in an alkali and will neutralise it.

End of ITQ

As excess sodium hydroxide is added to the precipitate that is initially formed in Equation 37, the precipitate dissolves to form the tetrahydroxyaluminate ion:

Start of Equation

Al(OH)3(s) + OH−(aq) = [Al(OH)4]−(aq)

(Equation 40)

End of Equation

This shows a close resemblance of Al(OH)3 to Be(OH)2, which is also amphoteric. Note that the bases ammonia and sodium carbonate are not strong enough to cause this dissolution.

### 4.1.1 Aluminium sulfate in water treatment

The Group 1 and Group 2 metals form carbonates, with those of Group 2 being insoluble in water. Aluminium carbonate, Al2(CO3)3, however, cannot be prepared; if aluminium sulfate is added to a solution containing carbonate or hydrogen carbonate ions, Al(OH)3 is precipitated and carbon dioxide is evolved:

Start of Equation

2Al3+(aq) + 3CO32−(aq) + 3H2O(l) = 2Al(OH)3(s) + 3CO2(g)

(Equation 41)

End of Equation

Start of Equation

Al3+(aq) + 3HCO3−(aq) = Al(OH)3(s) + 3CO2(g)

(Equation 42)

End of Equation

Figure 17 shows the stages in a typical water treatment process for river water. In stages 1 and 2 chemicals are added and mixed. Then in stage 3 flocculation or aggregation occurs involving large amounts of aluminium sulfate to clear the water of fine suspensions that are difficult to filter off, such as clay particles. The tiny particles usually carry surface negative charges, which repel each other and so remain in suspension.

The positively charged aluminium ions get between the negative particles, counteracting the repulsion and encouraging flocculation. Then, when Reaction 42 occurs because of the HCO3− ions usually present in natural waters, the particles sediment with the precipitate of aluminium hydroxide that forms in the sedimentation tank in stage 4. The water is filtered in stage 5 before disinfection in stage 6 via chlorination.

Start of Figure

Figure 17 Diagram of a typical water treatment process.

View description - Figure 17 Diagram of a typical water treatment process.

End of Figure

Start of ITQ

- What role is Al3+(aq) playing in Equations 41 and 42?

- Acids liberate CO2 from carbonate and hydrogen carbonate solutions, so here Al3+(aq) acts as an acid.

End of ITQ

Then, Equation 43 becomes:

Start of Equation

[Al(H2O)6]3+(aq) + 3HCO3−(aq) = Al(OH)3(s) + 3CO2(g) + 6H2O(l)

(Equation 43)

End of Equation

The positively charged alumnium ions get between the negative particles, counteracting the repulsion and encouraging flocculation. Then, when Reaction 42 occurs because of the HCO3 ions usually present in natural waters, the particles sediment with the precipitate of aluminium hydroxide that forms in the sedimentation tank in stage 4. The water is filtered in stage 5 before disinfection in stage 6 via chlorination.

Natural water generally requires disinfection before drinking to kill pathogenic or disease-causing microorganisms. Ultraviolet irradiation is one disinfection method and the major chemical disinfectants are ozone and chlorine. These compounds are thought to kill microorganisms by rupturing the cell membrane and reacting with proteins and enzymes within the cells. Once the chemical structures of proteins and enzymes have been altered they may either fall apart or adopt an unnatural state. Consequently, they fail to perform their roles and so the cell or bacteria dies.

Start of ITQ

- Why can [Al(H2O)6]3+ be described as a Brønsted-Lowry acid in Equation 43?

- Three of the six water molecules that were attached to the aluminium have been lost, but the other three have acted as proton donors, leaving aluminium associated with hydroxide ions instead of water molecules.

End of ITQ

A more obvious sign of the acidic character of [Al(H2O)6]3+ is the fact that aqueous solutions of aluminium sulfate are acidic, unlike those of, say, sodium sulfate:

Start of Equation

[Al(H2O)6]3+(aq) + H2O(l) = [Al(H2O)5(OH)]2+(aq) + H3O+(aq)

(Equation 44)

End of Equation

Again, a water molecule coordinated to Al3+ is transformed into an OH− ligand; at the same time, hydrated protons, H3O+, are generated.

### 4.1.2 Aluminium and biology

Aluminium minerals such as bauxite are biologically unavailable due to their insolubility in water. In the course of evolution, this would inevitably have limited the bioavailability of aluminium to living organisms. Aluminium is consequently not an essential element for humans in their normal metabolism. However small amounts of aluminium are found in most people's diet, let us now consider how this might arise?

Start of ITQ

- Watch Video 6. Determine how aluminium reacts with both acid and alkali.

Start of Media Content

Video content is not available in this format.

Video 6 Reaction of aluminium with acid and alkali.

View transcript - Video 6 Reaction of aluminium with acid and alkali.

End of Media Content

- Aluminum is soluble in both acids and alkalis, dissolving in both hydrochloric acid and sodium hydroxide, liberating hydrogen and finally giving clear, colourless solutions:

Start of Equation

2Al(s) + 6H+(aq) = 2Al3+(aq) + 3H2(g)

(Equation 45)

End of Equation

Start of Equation

2Al(s) + 6H2O(l) + 2OH−(aq) = [Al(OH)4]−(aq) + 3H2(g)

(Equation 46)

End of Equation

End of ITQ

Aluminium metal forms a protective oxide film upon exposure to the air and so does not react further. Therefore, as aluminium is fairly inert, it is commonly used in cookware, especially as it is an excellent conductor of heat.

Start of ITQ

- How might aluminium in cookware be solubilised? Also, consider if aluminium(III) is a hard or a soft cation.

- Aluminium can be solubilised from cookware by heating acidic solutions, such as those containing citric acid, Structure 11). Aluminium(III) is a hard cation, similar to the iron(III) ion. Consequently it is bound and solubilised by hard chelating ligands in food such as citric acid.

Start of Chemistry

Structure 11

End of Chemistry

End of ITQ

Aluminium has been associated with several neurodegenerative diseases although its role remains controversial. The World Health Organization (2015) sets a tolerable daily intake of aluminium for a 60 kg adult at 60 mg. For most people, the mass actually ingested daily is about 10 mg. This aluminium is mostly excreted in the faeces and is not taken up by the body. That which passes across the gastrointestinal barrier into the blood stream is dealt with by the kidneys (Figure 18). However, there is a small accumulation in the whole body, including the brain and lungs.

Start of Figure

Figure 18 The metabolism of aluminium in humans.

View description - Figure 18 The metabolism of aluminium in humans.

End of Figure

There is no doubt that aluminium can damage people with impaired kidney function. The condition called dialysis dementia was first noticed in patients who had received long-term haemodialysis for renal failure. Its symptoms included speech disorders, memory loss, convulsions and seizures, followed, in some cases, by death within a year. The incidence of the disease was highest when the municipal water used in the dialysis contained high concentrations of aluminium. Aluminium is therefore considered a potential neurotoxin.

### 4.1.3 Aluminium toxicity

The exact mechanism of aluminium toxicity remains controversial. Aluminium has been shown to disrupt lipid membrane fluidity, perturb iron, magnesium, and calcium regulation or so-called homeostasis, and cause oxidative stress by upsetting the normal treatment of unwanted oxidising radicals by the body.

Start of ITQ

- Why is the observation that aluminium causes oxidative stress perhaps surprising?

- Alumunium, unlike transition metals, does not have redox chemistry as it only forms the +3 ion. Therefore it is thought that aluminium(III) ions interfere with enzymes which counter reactive oxygen species (ROS) in the body.

End of ITQ

Glycolysis is a nearly universal pathway in biological systems which aluminium can influence. Glycolysis includes a key step in which adenosine triphosphate (ATP) loses its terminal phosphate group to a glucose molecule and becomes adenosine diphosphate (ADP) (Figure 19).

Start of Figure

Figure 19 The conversion of ATP into ADP in the first stage of glycolysis.

View description - Figure 19 The conversion of ATP into ADP in the first stage of glycolysis.

End of Figure

The process is catalysed by an enzyme called hexokinase. Before the ATP can be accepted by the enzyme, it must become complexed to a magnesium ion, Mg2+, through oxygen atoms attached to phosphorus atoms 2 and 3 (Structure 12). The exact way in which the magnesium ion bridges the two terminal phosphates is uncertain, but in this complexed state, the ATP is accepted by the enzyme. The magnesium ion then moves from the bridging position between phosphate groups 2 and 3 to one between groups 1 and 2. This exposes the terminal phosphate group to removal, and transfer to glucose.

Start of Figure

Structure 12

End of Figure

The change of bridging position is possible because Mg2+ does not bind particularly strongly to the oxygen donor sites. Now suppose substantial amounts of dissolved aluminium are present:

Start of ITQ

- What ion is then available for binding to the oxygen donors?

- Al3+(aq), which from simple electrostatic arguments will bind more strongly than Mg2+ to oxygen donor ligands.

End of ITQ

Consequently Al3+ will bridge phosphate groups 2 and 3 like Mg2+, but because of the stronger binding, it is reluctant to shift to bridge groups 1 and 2 upon binding by the enzyme. Loss of the terminal phosphate is therefore impaired.

Whether this explanation of aluminium neurotoxicity is the whole story or not, it still points to a useful general idea about poisons. Their key feature is a resemblance to some chemical species (in this case Mg2+) that is essential to a biological process, and which is similar enough to gain access to a metabolic process. The poison once incorporated produces differences from the essential species and the metabolic process is blocked.

In natural waters the concentration of aluminium is increased by acid rain. When the hydrogen ions of acid rain fall upon soils that are naturally quite acidic, they replace other positive ions bound into the soil structure, such as Al3+.

For instance, the common mineral feldspar occurs widely in many different rock types, and is broken down during weathering by both physical and chemical degradation processes. Feldspar typically weathers as follows:

Start of Equation

(Equation 47)

End of Equation

Kaolinite can react with water to give aluminium hydroxide (gibbsite) and hydrated silicic acid. The aluminium hydroxide dissolves in the presence of hydrogen ions.

Start of ITQ

- Suggest an equation for the dissolution of aluminium hydroxide in acid.

- From earlier:

Start of Equation

Al(OH)3(s) + 3H+(aq) = Al3+(aq) + 3H2O(l)

(Equation 48)

End of Equation

End of ITQ

This aluminium contamination is a major contributor to the decline of fish stocks in lakes. The Al3+ ion appears to bind to oxygen-donor ligands, such as the phosphate groups in phospholipids, at the surface of fish gills. This makes the membrane of gill cells more permeable to further Al3+, which can then enter the cells and replace Ca2+ ions on key proteins. The regulation of the cell concentrations of other ions, such as Na+, is also disrupted. At the same time, the increased concentration of aluminium in gill cells leads to precipitation of aluminium hydroxide, mucus formation and breathing difficulties.

### 4.1.4 Toxicity of thallium(I) compounds

Another Group 13 element thallium, and especially thallium(I), is extremely poisonous. Thallium poisoning has been linked to industrial emissions from the burning of coal and the smelting of thallium-rich sulfide ores. Consequently the United States Environmental Protection Agency sets the safe level of thallium in drinking water at 0.5 ppb. When ingested, thallium seems to follow potassium in its metabolism, and it probably interferes with vital roles played by potassium in the nervous system. Note the ionic radius of Tl+ (160 pm) resembles that of K+ (152 pm). Again, this supports the general explanation of toxicity: the nervous system mistakenly accepts thallium(I) instead of potassium ions. Essential biological processes are then blocked because thallium(I) is an inadequate substitute.

Start of ITQ

- How similar is the chemistry of thallium(I) and potassium ions shown in Video 7?

Start of Media Content

Video content is not available in this format.

Video 7 A comparison of some reactions of thallium(I) and potassium ions.

View transcript - Video 7 A comparison of some reactions of thallium(I) and potassium ions.

End of Media Content

- Like potassium, thallium forms, unusually, a soluble, alkaline carbonate and hydroxide, Tl2CO3 and TlOH. Both ions also form a precipitate with the addition of a solution containing the tetraphenylborate anion, BPh4− where Ph = phenyl.

End of ITQ

### 4.1.5 The inert pair effect

Thallium is a Group 13 metal like aluminium, so why in its compounds is the +1 oxidation number prominent, such as in water the Tl+(aq) ion?

Consider first Group 2, magnesium is less readily oxidised than the metals beneath it. One sign of this is the less negative values of compared with those of the elements below it.

Start of ITQ

- Table 5 compares values for Group 2 and Group 13 metals. Is the trend mentioned above maintained in Group 13?

- No the trends are in opposite directions: thermodynamically speaking, aluminium is more readily oxidised to oxidation number +3 than gallium, indium or thallium.

End of ITQ

Start of Table

Table 5 Values of for the Group 2 metals compared to for the corresponding Group 13 metals.

| Mg | −2.36 | Al | −1.68 |
| --- | --- | --- | --- |
| Ca | −2.87 | Ga | −0.53 |
| Sr | −2.90 | In | −0.34 |
| Ba | −2.91 | Tl | +0.72 |

End of Table

A possible reason for the reversal emerges from a comparison of the first ionisation energies of the Group 2 and Group 13 elements (Figure 20). Generally the ionisation energy:

- drops steeply when a new Period begins and

- increases overall across a Period as the nuclear charge builds up, as seen in Group 2.

Start of Figure

Figure 20 The first ionisation energies of the Group 2 and Group 13 elements.

View description - Figure 20 The first ionisation energies of the Group 2 and Group 13 elements.

End of Figure

Start of ITQ

- Does Group 13 follow this general trend?

- From boron to aluminium, there is the usual drop from the second row to the third row of the Group. Thereafter, the values remain unexpectedly high, most notably at thallium whose first ionisation energy exceeds that of aluminium.

End of ITQ

Start of ITQ

- Consider Figure 21. Why might the ionisation energies of gallium, indium and especially thallium be unexpectedly raised relative to those of aluminium?

Start of Figure

Figure 21 Filling of electronic subshells between Groups 2 and 13 in the Periodic Table.

View description - Figure 21 Filling of electronic subshells between Groups 2 and 13 in the Periodic ...

End of Figure

- Aluminium follows immediately after a Group 2 element, but before gallium and indium, d shells must be filled. The ionisation energies are higher for gallium and indium because it takes longer to build up the nuclear charge. The effect is magnified at thallium, where prior filling of 5d and 4f subshells occurs.

End of ITQ

Unexpectedly high ionisation energies for gallium, indium and thallium make conversion of the metals into ions more difficult. They are a major contribution to the greater resistance to oxidation revealed in Table 5. Such effects, however, do not obliterate the strong resemblance of gallium, indium and thallium to aluminium that their presence in the same Group implies. All three elements are metals, which react with fluorine or chlorine to form trihalides, all of which are solids at room temperature.

However the build-up of nuclear charge in the preceding 4f and 5d block elements leaves thallium's ionisation energies higher than expected. The higher oxidation number is therefore harder to attain, and the state most stable to oxidation or reduction is +1.

Start of ITQ

- Determine the electronic configuration of Tl+.

- [Xe] 4f14 5d10 6s2; the outer 6p electron has been lost, leaving two outer electrons in a full 6s shell.

End of ITQ

The inert pair effect refers to the emergence at the bottom of Groups 13-15 of a stable lower oxidation number two fewer than the Group number. This is so called because the outer electronic configuration of the ion is a filled s2 subshell, which is presumed to be hard to remove during oxidation.

Start of ITQ

- Watch Video 8 and determine which compounds aluminium commonly forms upon reaction with the halogens.

Start of Media Content

Video content is not available in this format.

Video 8 The reaction of aluminium with some halogens.

View transcript - Video 8 The reaction of aluminium with some halogens.

End of Media Content

- Aluminium forms trihalides such as AlCl3.

End of ITQ

The inert pair effect increases down the Group: AlCl, AlBr and AlI do not exist at room temperature, but the corresponding compounds of gallium and indium can be made by cooling a heated mixture of the metals and their trihalides:

Start of Equation

2M(s) + MX3(s) = 3MX(s)

(Equation 49)

End of Equation

They all, however, decompose in water, either evolving hydrogen or disproportionating to the metal and M3+(aq). Only in the case of thallium does a long-lived M+(aq) ion exist.

The inert pair effect is a relative phenomenon; consider whether it is also apparent if you study the two ionisation energies of the valence shell s electron pair.

For example, the atoms of the Group 2 elements have configurations of the type [FIS] ns2, (FIS refers to a filled inner shell) and in the +2 oxidation state, their ionic configuration is [FIS]. For a Group 2 element, the process

Start of Equation

M(g) = M2+(g) + 2e−(g)

(Equation 50)

End of Equation

involves the loss of the outer s pair, and its enthalpy change is (I1 + I2), i.e. the sum of the first and second ionisation energies.

Start of ITQ

- Rewrite this last sentence so that it applies to the loss of the outer s pair in Group 13.

- For a Group 13 element, the process (Equation 51) involves the loss of the outer s pair, and its enthalpy change is (I2 + I3), the sum of the second and third ionisation energies.

Start of Equation

M+(g) = M3+(g) + 2e−(g)

(Equation 51)

End of Equation

End of ITQ

Figure 22 shows the change in these ionisation energy sums as one descends Groups 2 and 13. To make the comparison easier, the scales for each plot have been adjusted so that the slopes of the lines between Be and Mg, and between B and Al, are the same.

Start of Figure

Figure 22 The values of (I1 + I2) for the Group 2 elements (scale on left axis) and of (I2 + I3) for the Group 13 elements (scale on right axis). The two scales are different.

View description - Figure 22 The values of (I1 + I2) for the Group 2 elements (scale on left axis) ...

End of Figure

Start of ITQ

- In Figure 22 do Groups 2 and 13 elements follow the trend you would expect?

- Descending Group 2, the ionisation energy falls as expected because the outer shell becomes more remote from the nucleus: it gets progressively easier to remove the s pair.

Whilst in Group 13, the slope of the decrease changes abruptly at aluminium. Indeed, between Al and Ga, and In and Tl, there are increases. Unlike Group 2, it gets progressively harder to remove the s pair upon descending Group 13 due to an increasing nuclear charge from filling first the d subshell before Ga, In and Tl and also the f subshell before Tl. Consequently in Group 13, the +1 oxidation state becomes much more stable moving from Al to Tl.

End of ITQ

## 4.2 Home water filters

Many people use home water filters. These effectively remove both hardness and impurities that may alter the taste of tap water, such as residual chlorine. Have you ever wondered what is inside a refill cartridge (Figure 23)?

Start of Figure

Figure 23 Photo of a home water-filter cartridge.

View description - Figure 23 Photo of a home water-filter cartridge.

End of Figure

- The filter contains an adsorbent material that adsorbs a wide range of compounds, including organic molecules such as pesticides.

- Activated carbon is commonly used as it has a high surface area.

- The structure of activated carbon is similar to graphite. It differs in having a smaller particle size and lower crystallinity.

- Also the edge of the graphite-like sheets (Figure 24) have been oxidised which helps improve its absorbent properties.

Start of Figure

Figure 24 An illustration of the edge of a graphite type sheet in activated carbon.

View description - Figure 24 An illustration of the edge of a graphite type sheet in activated car ...

End of Figure

Start of ITQ

- Why might the additional functional groups from oxidation make activated carbon a better adsorbent than graphite with a similar surface area?

- The additional functional groups enable additional intermolecular interactions between the adsorbent and the pollutant. For example, the hydroxyl groups can hydrogen bond with anions such as chloride or nitrate. Similarly the carboxylic acid and carbonyl groups can coordinate cations such as calcium or magnesium.

End of ITQ

Activated carbon is also widely used as an adsorbent to treat industrial wastewater.

## Summary of Section 4

- Water hardness is often due to the presence of dissolved calcium and magnesium salts in the water, such as Ca(HCO3)2.

- Aluminium oxide and hydroxide are unusual in being amphoteric. This means that they dissolve in and neutralise both alkali and acidic solutions. For example:

Start of Equation

Al(OH)3(s) + 3H+(aq) = Al3+(aq) + 3H2O(l)

(Equation 39)

End of Equation

Start of Equation

Al(OH)3(s) + OH−(aq) = [Al(OH)4]−(aq)

(Equation 40)

End of Equation

- Aluminium sulfate is used to remove fine particles from water, wherein the following reaction occurs:

Start of Equation

Al3+(aq) + 3HCO3−(aq) = Al(OH)3(s) + 3CO2(g)

(Equation 42)

End of Equation

as the aluminium hydroxide precipitates it encourages the fine particles to settle out.

- In the body, aluminium(III) ions are toxic by interfering with the binding of magnesium(II) to ATP during its hydrolysis.

- Thallium(I) is poisonous by replacing potassium ions, which have a similar ionic radius, in the body and disrupting normal function.

- Although thallium is in Group 13 its common oxidation state is +1 due to the inert pair effect. The inert pair effect is also observed in Groups 14, 15 and 16.

- Activated carbon is a common adsorbent material in water filters that removes anionic, cationic and organic pollutants.

## Conclusion

This free course provided an introduction to studying Science. It took you through a series of exercises designed to develop your approach to study and learning at a distance, and helped to improve your confidence as an independent learner.

## Glossary

Amphoteric

An amphoteric compound dissolves in and reacts with both acidic and alkaline solutions.

Bronsted-Løwry

The Bronsted-Løwry theory of acids and bases states that an acid is a substance from which a proton can be removed and a base is a substance that can accept a proton from an acid.

Anions

A negatively charged ionic species.

Catena-

A prefix distinguishing a linear condensed anion.

Cations

A positively charged ionic species.

Chelating

A chemical species (a ligand) that contains two or more atoms with lone pairs of electrons that may bind to a metal ion. Their complexes show enhanced stability compared to ones where each ligand only binds at one position to the metal ion.

Coordination number

The number of roughly equidistant nearest-neighbour atoms that surround another atom.

Cyclo-

A prefix to denote a cyclic condensed anion.

Eutrophication

The term given to the death of life forms in bodies of water, such as lakes due to excess phosphate and nitrate fertilisers in the water.

General formula of oxoacids

In an oxoacid there may be one or more terminal oxygen atoms, so the general formula of oxoacids can be applied, A(O)t(OH)n, where t can equal 0. For example, sulfuric acid, H2SO4, is written as S(O)2(OH)2 (where t = 2, n = 2).

Hard and soft acids and bases

Hard acids and hard bases have low polarisability (they are small compact atoms or ions), whereas soft acids and soft bases are more polarisable (they are larger atoms and ions). Hard acids include the cations of the alkali metals, the alkaline earths and the first-row transition metals in high oxidisation states, and hard bases include ammonia and the fluoride ion. Soft acids include the copper(I), silver(I) and mercury(II) ions, and the larger halogens. Soft bases include the cyanide ion, phosphines and the iodide ion. Hard acids tend to bond most effectively to hard bases, and soft acids to soft bases.

Hydrophilic

Literally, 'water-loving'. A hydrophilic compound, such as an ionic species, will dissolve in water.

Hydrophobic

Literally, 'water-hating'. A hydrophobic compound, such as a non-polar organic compound, will be totally immiscible with water.

Inert pair effect

The tendency of the typical elements at the bottom of Groups 13-16 to adopt an oxidation number two less than the Group number.

Negatively charged ions

A negatively charged ionic species, also referred to as anions.

Nitrogen fixation

A collective term for all the natural processes that convert atmospheric N2 into useful compounds such as ammonia and nitrates.

Oxidisation number

To assign the oxidisation numbers, or oxidisation states, within a compound we imagine that the shared electron pairs in covalent bonds between different elements are completely transferred to the more electronegative of the two elements. For example, in sodium chloride, sodium has an oxidisation state of +1 and chlorine has has an oxidisation state of -1. In covalent compounds, the sign reflects the relative electronegativity of the different elements, for example in water, H2O, the H is +1 and the O is -2.

Polybasic

A polybasic acid contains more than one ionisable proton, H+ ion.

Polyprotic

A compound that contains several ionisable protons, H+. For example sulphuric acid is a polyprotic acid.

Positively charged ions

A positively charged ionic species, often referred to as a cation.

Redox

A reaction in which oxidation and reduction occur.

Stoichiometry

This can have either of two meanings, depending on the context in which the term is used. In inorganic chemistry, with NaCl, for instance, if there are n atoms in the crystal lattice, then there are n octahedral holes, and so the Na : Cl ratio will be 1 : 1. The stoichiometry in this case is 1 : 1. In the context of chemical reactions, the stoichiometry represents the relative amounts of reactants and products taking part, as expressed by the balanced chemical equation.

VSEPR theory (valence-shell electron-pair repulsion theory)

A theory for predicting molecular shapes by postulating that electron pairs in molecules will be kept as far away from each other as possible.

## References

Drinking water inspectorate, DWI (2015) Drinking Water Inspectorate [Online]. Available at http://dwi.defra.gov.uk/ (Accessed 23 June 2015).

European Commission (2015) Environment [Online]. Available at http://ec.europa.eu/environment/water/water-drink/national_info_en.html (Accessed 23 June 2015).

World Health Organization (2015) Chemical hazards in drinking-water- aluminium [Online]. Available at http://www.who.int/water_sanitation_health/dwq/chemicals/aluminium/en/

## Further reading

Bhatnagar, A. and Sillanpää, M., (2011)‚ 'A review of emerging adsorbents for nitrate removal from water', Chemical Engineering Journal, vol. 168 pp. 493-504 [Online]. Available at http://ac.els-cdn.com/S1385894711001689/1-s2.0-S1385894711001689-main.pdf?_tid=d016085a-ff99-11e4-83b6-00000aab0f6b&acdnat=1432199861_87454979a10f5dd91be90b92344e3bf8 (Accessed 21 May 2015).

Binnie, C. and Kimber, M. (2013) Basic Water Treatment, 5th edn, London, ICE Publishing.

Drinking Water Inspectorate (2013), Nitrate, [Online], London, Drinking Water Inspectorate. Available at http://dwi.defra.gov.uk/consumers/advice-leaflets/nitrate.pdf (Accessed 21 May 2015).

Duffus, J. and Worth, H. (eds) (1996) Fundamental Toxicology for Chemists, Cambridge, Royal Society of Chemistry.

Gupta, V. K., Ali, I., Saleh, T. A., Nayak, A. and Agarwal, S. (2012) 'Chemical treatment technologies for waste-water recycling - an overview', RSC Advances., vol. 2 pp. 6380-6388. [Online]. Available at http://pubs.rsc.org/en/Content/ArticlePDF/2012/RA/c2ra20340e (Accessed 21 May 2015).

Lewis, R. and Evans, W. (2006) Chemistry, 3rd edn, Basingstoke, Palgrave Macmillan Ltd.

Prior, K. (2013) 'Water purity - myths and challenges', Science in Parliament, vol. 70, no. 3 [Online]. Available at http://www.rsc.org/globalassets/04-campaigning-outreach/tackling-the-worlds-challenges/water/water-purity-myths-challenges.pdf (Accessed 21 May 2015).

The Nitrates Directive (2015) European Commission[Online]. Available at http://ec.europa.eu/environment/water/water-nitrates/index_en.html (Accessed 21 May 2015).

## Acknowledgements

This course was written by Simon Collinson with contributions from Rob Janes, Michael Gagan, Craig Williams, Joan Mason, Charles Harding and John Baxter.

Course image: Chafer Machinery in Flickr made available under Creative Commons Attribution-NonCommercial-ShareAlike 2.0 Licence.

The material acknowledged below is Proprietary and used under licence (not subject to Creative Commons Licence). Grateful acknowledgement is made to the following sources for permission to reproduce material in this course:

Figures

Figure 10 Dr Gene Feldman, NASA GSFC/Science Photo Library;

Figure 15 Building Research Establishment;

Every effort has been made to contact copyright owners. If any have been inadvertently overlooked, the publishers will be pleased to make the necessary arrangements at the first opportunity.

Except for third party materials and otherwise stated in the acknowledgements section, this content is made available under a Creative Commons Attribution-NonCommercial-ShareAlike 4.0 Licence.

Don't miss out:

If reading this text has inspired you to learn more, you may be interested in joining the millions of people who discover our free learning resources and qualifications by visiting The Open University - www.open.edu/openlearn/free-courses

# Activity 1 Ions in drinking water

# Question 1

## Answer

Cations such as calcium and magnesium.

Back to Session 1 Part 1

# Activity 1 Ions in drinking water

# Question 2

## Answer

The World Health Organization (2015) guideline value for nitrate is 50 mg l−1 for drinking water and the EU also adopts this value.

Back to Session 1 Part 2

# Activity 1 Ions in drinking water

# Question 3

## Answer

All the values for nitrate in Table 1 are well below 50 mg l−1.

Back to Session 1 Part 3

# Activity 1 Ions in drinking water

# Question 4

## Answer

The maximum permitted value of fluoride in drinking water is 1.5 mg l−1.

Back to Session 1 Part 4

# Figure 1 The water cycle.

## Description

Figure 1 A cross section through the surface of the Earth. On the left hand side there are mountains, which slope down to the right to lower land, and then about two-thirds of the way across the diagram, the coast. To the right of this is the ocean, which gradually deepens up to the right hand edge.

In the top right of the diagram is a picture of the sun. Below this, two arrows labelled 'evaporation' point vertically upwards from the surface of the ocean. Above these arrows it says 'water vapour', and above that is a picture of a cloud.

An arrow labelled 'wind' points to the left from the cloud to another cloud. Another arrow, this time labelled 'cloud rising' points to the left and a little up to a third cloud. Rain is falling from this cloud into a lake at the edge of the mountainous area. From the lake, a river meanders its way past a town to the ocean.

From the third cloud, another arrow points up and to the left to a final cloud. From this cloud snow is falling onto the tops of the mountains.

Small blue arrows point vertically down from the surface of the land into the ground. The bottom part of the cross section through the surface is shaded a darker colour than the rest. On the left hand side the boundary between the light and dark areas is about half way between the bottom of the diagram and the peak of the mountain. The boundary slopes gently down to the right, while the light coloured area on top gradually becomes thinner, so that at the coast the lighter coloured area vanishes, and the entire area beneath the ocean is the darker colour.

Back to Session 1 Figure 1

# Figure 2 Typical analysis for a bottle of mineral water values shown in mg l-1.

## Description

Figure 2 A photograph of the label on a bottle of water. At the top it says 'Typical analysis'.

Calcium 55, Magnesium 19, Potassium 1, Sodium 24, Bicarbonate 248, Chloride 37, Sulphate 13, Nitrate < 0.1, Iron 0, Aluminium 0, Dry residue at 180 degrees C 280, Natural mineral water 500 ml, pH at source 7.4.

Back to Session 1 Figure 2

# Figure 3 Dose-response curve determination of LD50.

## Description

Figure 3 The horizontal axis of the graph is labelled 'percentage killed' and the values 0, 20, 40, 60, 80 and 100 are marked along the axis. The vertical axis is labelled 'log of dose / mg kg superscript -1'.

A curve has been drawn which starts near the bottom left and goes up and to the right. At a point above 10 on the horizontal axis, the line bends and then continues sloping up and to the right, but not as steeply as it was to begin with. At a point above 90 on the horizontal axis, the line begins to slope more steeply upwards, and ends near the top right corner of the graph.

A dashed line has been drawn which goes vertically up from 50 on the horizontal axis until it meets the curve. From this point another dashed line goes horizontally to the left until it meets the vertical axis. The point where it meets the axis is labelled 'log L D subscript 50'.

Back to Session 1 Figure 3

# Figure 4 The chemicals present within the nitrogen cycle.

## Description

Figure 4 The bottom third of the diagram is shaded green to represent the land, and the area above that is shaded blue to represent the sky. At the far left, in the blue area, it says 'N subscript 2'. An arrow points vertically down into the green area, and then turns and points to the right where there is a plant, with its roots in the green area. Beneath the plant it says 'N subscript 2 fixing in roots (N H subscript 3 )'.

An arrow points to the right to the words 'amino acids'.

From here another arrow points to the right where it says 'nitrates nitrites'.

From here another arrow points to the right to 'denitrifying bacteria', and from there an arrow points up into the blue layer, where it says 'N subscript 2'.

From 'nitrates nitrites' an arrow points to the left and then up to the surface of the green layer, where there is some grass growing. An arrow points up from the grass to the mouth of a cow. The cow is defecating. An arrow from the faeces down to the words 'amino acids', previously described.

On the top of the green layer is the word 'fertiliser'. An arrow points from the fertiliser down to the words 'nitrates nitrites'.

At the top of the blue layer is a cloud. Rain is falling from the cloud, and there are two lightning bolts below the cloud. An arrow labelled 'N O subscript 3 superscript minus (aq)' points down to the words 'nitrates nitrites' in the green layer.

Back to Session 2 Figure 1

# Figure 5 Root nodules on a pea plant containing nitrogen-fixing bacteria.

## Description

Figure 5 The roots are shown as a large thick brown tubular structure that goes from left to right across the bottom of the photograph. A number of long thin pale brown tubular structures branch off from this, some heading up and to the right, and others vertically down. There are about a dozen small balloon-shaped objects attached to the long thin tubular structures, quite often appearing in pairs, with one attached to either side of the tube.

Back to Session 2 Figure 2

# Figure 6 An example of eutrophic water in a lake.

## Description

Figure 6 A photograph of a lake surrounded by grassland. There are four trees growing near the edge of the water, and in the distance we can see a wood. We can see the reflection of the trees in the water, except for a number of patches where there is a significant grey-green area of algae growing on the surface of the water.

Back to Session 2 Figure 6

# Figure 7 Animation showing mechanism of an ion-exchange resin where nitrate (red spheres) exchange with chloride (green squares) ions. (There is no audio associated with this animation.)

## Description

Figure 7 To the left is a vertical cylinder which narrows at the bottom. There is an arrow above the cylinder pointing vertically down to the cylinder, labelled contaminated water. At the bottom of the cylinder is another vertical arrow pointing downwards, labelled purified water. The cylinder is shaded blue. Inside are four large grey spheres. The key to the right identifies these as ion-exchange medium. Initially there are a number of small green squares representing chloride and small green triangles representing other contaminants scattered randomly throughout the cylinder. Small red circles representing nitrate are then seen to enter the cylinder and travel down it. These red circles each come to rest on one of the large grey spheres. The small green squares on the grey spheres come off and travel down and out of the cylinder. A label ion-exchange column regenerated with chloride solution then appears. Small green squares enter the cylinder and gradually replace the small red circles attached to the grey spheres. The small red circles travel down and out of the cylinder.

Back to Session 2 MediaContent 5

# Figure 8 (a) Diagram showing how an ion-exchange medium removes arsenic ions from water. (b) A village water pump in Bangladesh purified using ion-exchange chromatography.

## Description

Figure 8 The diagram in part (a) consists of a tall vertical cylinder, which narrows at the bottom. An arrow labelled 'contaminated water' points vertically down into the top of the cylinder, and an arrow labelled 'purified water' points vertically down from the bottom of the cylinder.

There are eight grey circles arranged in a regular pattern throughout the cylinder. A key identifies the circles as representing 'ion-exchange medium'. The area between the grey circles is coloured pale blue. Near the top of the cylinder there are a number of small yellow pentagons and blue triangles. The key identifies these as representing 'arsenic ions' and 'other contaminants'. There are also a few small green squares, which the key identifies as 'chloride ions'. Most of the yellow pentagons and blue triangles are attached to grey circles near the top of the cylinder. Near the bottom of the cylinder there are no yellow pentagons or blue triangles, but there are many more green squares. Most of the green squares are attached to the grey circles near the bottom of the cylinder.

Part (b) is a photograph which shows a man operating a hand pump attached to the bottom of two vertical cylinders, which are almost as tall as the man. The two vertical cylinders at the top are attached by pipes to the water supply. There is a bucket near the pump, and a child in the foreground of the photograph.

Back to Session 2 Figure 7

# Figure 9 An environmentally friendly phosphate-free washing powder.

## Description

Figure 9 A photograph of a bag of washing powder. On the bag there is a picture of dolphins, and the words:

Environmentally respectful and effective. Ecolabel award. See side of pack for details. Readily biodegradable. Phosphate free. Contains plant-based ingredients. Naturally powerful formula. Money back guarantee. Respects the environment. Down to earth. Concentrated automatic washing powder. e 2 kg.

Back to Session 3 Figure 2

# Figure 10 Excessive algal growth in the Mediterranean, shown in red (most dense) through orange, yellow and green to blue (least dense).

## Description

Figure 10 A map showing the Mediterranean Sea, with part of the Atlantic on the left, and the Black Sea in the upper right. The Atlantic around Portugal and France is coloured red or orange. Most of the Mediterranean is coloured blue, except for an orange and red area to the south of France, and red areas along the east coast of Italy, and the coasts of Tunisia and Egypt. Most of the Black Sea is coloured red or orange.

Back to Session 3 Figure 3

# Figure 11 The mineral pyroxene.

## Description

Figure 11 This shows a sample of the mineral pyroxene. The crystal is prismatic and has a gold colour with several shiny faces being visible.

Back to Session 3 Figure 13

# Figure 12 (a) Phosphorous(III) and (b) phosphorous(V) oxide.

## Description

Figure 12 A key identifies a small red ball as meaning 'O' and a slightly larger orange ball as meaning 'P'.

At the top of the diagram in part (a) there is an orange ball. Three lines radiate out and down from the orange ball, each ending at a red ball. Next to one of these lines it says 165.6 pm. From each red ball a line goes roughly vertically down. The angle between the lines above and below the red balls is shown as 127.0 degrees. Each vertical line ends with an orange ball. Between each of these three orange balls there is a red ball, a little lower down and a little further out. Each orange ball has two lines which go down and out to the red ball on either side of it, and the angle between these lines is shown as 99.5 degrees.

At the top of the diagram in part (b) there is a red ball. A line of length 143 pm goes vertically down to an orange ball. Three lines radiate out and down from the orange ball, each ending at a red ball. The angle between two of these lines is shown as 102 degrees. From each red ball a line of length 160 pm goes roughly vertically down. The angle between the lines above and below the red balls is shown as 123.0 degrees. Each vertical line ends with an orange ball. Three lines radiate out and down from each of these orange balls, each ending at a red ball. The three red balls which are in between two orange balls, have lines to the orange balls on both sides of them, while the remaining three red balls are connected to just the nearest orange ball.

Back to Session 3 Figure 14

# Figure 13 Metaphosphoric acid chains and rings.

## Description

Figure 13 There are four structures composed of P, O and H.

The first structure goes across the top of the figure. It is a long line of alternating Ps and Os, connected by alternating single and then dashed lines. Above each P is a double vertical line to an O, while below and to one side of each P is an 'O H', so each P is tetrahedral.

In more details, starting from the left, a line goes down and to the right to an O, then a dashed line goes up and to the right to a P. From here a triangular wedge spreads down and to the left to 'H O', while a double line goes vertically up to an O. From the P a line goes down and to the right to an O, then up and to the right to another P. From here a triangular wedge spreads down and to the right to 'O H', while a double line goes vertically up to an O. From the P a dashed line goes down and to the right to an O, then up and to the right to another P. From here a triangular wedge spreads down and to the left to 'H O', while a double line goes vertically up to an O. From the P a line goes down and to the right to an O, then up and to the right to another P. From here a triangular wedge spreads down and to the right to 'O H', while a double line goes vertically up to an O. From the P a dashed line goes down and to the right to an O, then up and to the right to another P. From the P a dashed line goes down and to the right to an O, then up and to the right to another P. From here a triangular wedge spreads down and to the left to 'H O', while a double line goes vertically up to an O. From the P a line goes down and to the right to an O, then up and to the right.

The second structure, on the left of the figure, is a ring of three Ps, with an O between adjacent Ps. Above each P is a double vertical line going to an O, while sticking out from each P is an OH, so each P is tetrahedral. In more detail, starting at the rear left, there is a P. A dashed line goes down and to the left to an 'H O', while a double vertical line goes up to an O. From the P a line goes down and to the right to an O, then a dashed line goes up and to the right to another P. From the P a line goes down and to the right to an 'O H' while a double line goes up to an O. From the P a triangular wedge spreads down and to the left to an O, then a line goes up and to the left to another P. From the P a triangular wedge spreads down and to the left to an 'H O' while a double line goes up to an O. From the P a dashed line goes down and left to an O, then a triangular wedge points up and to the right to the first P described.

The third structure, on the right of the figure, is a small structure within brackets and labelled 'repeat unit'. At the centre is a P. From the P a double line goes vertically up to an O, while a triangular wedge spreads down and to the left to an O, from where a line goes down and left to an H. From the P, a dashed line goes down and left to an O, from where a triangular wedge spreads up and left to the left bracket. Also from the P a line goes down and to the right to an O, then up and to the right to the right bracket.

The final structure, at the bottom of the figure, is a ring of four Ps, with an O between adjacent Ps. Above each P is a double vertical line going to an O, while sticking out from each P is an OH so each P is tetrahedral. In more detail starting at the rear left, there is a P. A dashed line goes down and to the left to an 'H O', while a double vertical line goes up to an O. From the P a line goes down and to the right to an O, then up and to the right to another P. From the P a dashed line goes down and to the right to an 'O H' while a double line goes up to an O. From the P a triangular wedge spreads down and right to an O, then a dashed line goes up and left to another P. From the P a triangular wedge spreads down and right to an 'O H' while a double line goes up to an O. From the P a line goes down and left to an O, then up and left to another P. From here a triangular wedge spreads down and left to an 'H O' while a double line goes up to an O. From the P a dashed line goes down and left to an O, then a triangular wedge points up and right to the first P described.

Back to Session 3 Figure 15

# Figure 14 The dehydration of sodium dihydrogen phosphate at various temperatures.

## Description

Figure 14 On the left is the chemical formula 'Na H subscript 2 P O subscript 4'. Four arrows, each labelled with a temperature, point to the right.

The first arrow, which is labelled '250 degrees C', points to the formula 'Na subscript 2 H subscript 2 P subscript 2 O subscript 7'. To the right of this, in brackets, is a structure which starts with Na superscript + then superscript minus O, horizontal line P. Above the P a double vertical line goes to an O, while below the P a single vertical line goes down to an 'O H'. From the P, a horizontal line goes to an O, then on to another P. Once again, above the P a double vertical line goes to an O, while below the P a single vertical line goes down to an 'O H'. From the P, a horizontal line goes to an 'O superscript minus, then superscript + Na.

The second arrow, which is labelled 'greater than 250 degrees C', points to '( Na P O subscript 3 ) subscript n'. In brackets after this it says 'insoluble metaphosphate; n very large'.

The third arrow is labelled '630 degrees C' and points to '(Na P O subscript 3 ) subscript 3'. To the right of this is a structure: left square bracket, a structure containing 3 Ps and 9 Os, right square bracket, superscript '3 minus', 3 Na superscript +. The structure within the square brackets is a ring of three Ps, with an O between adjacent Ps. (The Os are all a little lower than the Ps.) Each P also has a double vertical line up to an O, and another O outside the ring, and once again a little lower than the P.

The final arrow is labelled '800 degrees C' and points to 'molten liquid (Na P O subscript 3 ) subscript n'.

Back to Session 3 Figure 16

# Figure 15 (a) Eroded stonework and (b) Limestone blocks at Wells cathedral, covered with a calcium sulfate crust, which flakes away exposing a friable surface that weathers rapidly.

## Description

Figure 15 Figure (a) is a photograph of a stone statue in front of a stone wall. The wall is a smooth light brown. Most of the statue is a light grey, but the face is almost black. There are pieces of metal around the arms and neck which look as if they attach the statue to the wall. Although the statue is still recognisably a person, much of the detail is missing due to weathering, especially around the hand, which might possibly be holding a crook.

Figure (b) is a photograph of a wall constructed from rectangular blocks, each of which is taller than it is wide. Most of the blocks are a dark brown colour, but one is badly weathered exposing a fresh surface that is almost completely white. Similarly, a narrow band along the join between some of the blocks is coloured white where some of the stone has fallen off.

Back to Session 4 Figure 1

# Figure 16 The hexaaquaaluminium(III) complex ion.

## Description

Figure 16 This shows a ball and stick model of the complex. In the centre is a grey sphere with six sticks attached to it to form an octahedral shape. The sticks are coloured grey at the end adjoining this sphere and red at the other end. Attached to the red ends of each stick is a red sphere. Each red sphere is also attached to two sticks coloured red and white. These are arranged in a V-shape. At the white end of each of these sticks is a white sphere. The model can be rotated.

Back to Session 4 Figure 2

# Figure 17 Diagram of a typical water treatment process.

## Description

Figure 17 A river meanders its way down the left hand side of the diagram. A tube goes to the right from the river. The left hand end of the tube is labelled 'inlet screen'. The tube leads to a larger area labelled 'preliminary settlement tank or storage reservoir'. From here a tube goes to the right, then up, then right again. An arrow labelled '(1) chemicals added' points to this tube.

The tube turns down, and there is a cross. A vertical line goes up from the cross to a grey square. Above the square it says '(2) mixer'.

The tube now goes horizontally to the right where it joins a larger horizontal tank, which has two vertical divisions towards the left hand end. Each of these divisions contains a cross, and from each cross a vertical line goes up to a grey square. Above these it says '(3) flocculation tank'.

There is a '(4)' above the right hand half of the large tank, which is labelled 'sedimentation tank'. A tube labelled 'sludge removal' comes out the bottom of the tank, while from the right hand side another tube goes first right, then up, then right again, to a box labelled '(5) filtration'.

A further pipe leads to the right to another wider box, labelled '(6) chlorination'. From the right hand side of this box, a tube labelled 'to distribution network' goes to the right.

The river is coloured dark blue and as we move to the right across the diagram this lightens as we pass through each section.

Back to Session 4 Figure 3

# Figure 18 The metabolism of aluminium in humans.

## Description

Figure 18 At the top of the diagram it says 'environmental Al (I I I )'. From here one arrow points to the left and one to the right. The left-hand arrow points to 'gastrointestinal apparatus' From here one arrow points left to 'faeces' while another, labelled 'Al (I I I )' points down to the top of a circle labelled 'bloodstream'. The right-hand arrow from the top points to 'respiratory apparatus'. From here one arrow points to the right to 'accumulation in lungs', while another, labelled 'Al (I I I )' points down to the circle labelled 'bloodstream'.

The arrows making up the bloodstream circle all point anticlockwise around the circle. From the top left of the circle an arrow points to the left to a rectangle labelled 'liver'. From here an arrow labelled 'via bile', points upwards and then joins the previously mentioned arrow which points to the word 'faeces'.

From the left-hand side of the 'bloodstream' circle, an arrow points to the left to a rectangle labelled 'heart muscle'.

From the bottom of the circle an arrow points down to a rectangle labelled 'brain'. To the left of this there is a rectangle labelled 'nose', and it too points to the 'brain' rectangle. From the right of the 'brain' rectangle, an arrow points to the right to the word 'accumulation'.

From the right-hand side of the bloodstream circle, an arrow points to the right to a rectangle labelled 'kidney', from which an arrow points to the right to the word 'urine'.

Back to Session 4 Figure 4

# Figure 19 The conversion of ATP into ADP in the first stage of glycolysis.

## Description

Figure 19 Starting at the top left of the diagram, it says: ATP adenosine, horizontal line to a P. Above the P a double line goes up to an O, while below it a single line goes down to an O superscript minus. A line goes to the right from the P to an O, and then on to another P. Above the P a double line goes up to an O, while below it a single line goes down to an O superscript minus. A line goes to the right from the P to an O, and then on to another P. Above the P a double line goes up to an O, while below it a single line goes down to an O superscript minus, and to the right a line goes to a final O superscript minus. The final 'P', with its three Os, is enclosed in a blue shaded box. To the right of the box is an arrow pointing to the right. Above the arrow it says 'to oxygen atom on a glucose molecule'.

Below the first 'O superscript minus' in the structure, there is a downward pointing half headed arrow labelled 'hexokinase'. To the left of this a shorter, upward pointing half headed arrow.

At the bottom of the diagram it says: ADP, adenosine horizontal line to a P. Above the P a double line goes up to an O, while below it a single line goes down to an O superscript minus. A line goes to the right from the P to an O, and then on to another P. Above the P a double line goes up to an O, while below it a single line goes down to an O superscript minus, and to the right a line goes to a final O superscript minus.

Back to Session 4 Figure 5

# Figure 20 The first ionisation energies of the Group 2 and Group 13 elements.

## Description

Figure 20 Along the horizontal axis of the graph are two sets of labels. The first set, labelled 'Group 2', are Be, Mg, Ca, Sr and Ba. The second set, labelled 'Group 13' and positioned under the first, are B, Al, Ga, In and Tl.

The vertical axis is labelled 'ionisation energy in kJ mol superscript -1', and the values 500, 600, 700, 800 and 900 have been marked along the axis.

Two sets of five points have been plotted on the graph. One set has been joined together with a blue line, labelled 'Group 2', the other set has been joined together with an orange line labelled 'Group 13'.

For the 'Group 2' set the point above Be corresponds to about 900 on the vertical axis, the point above Mg to about 750, the point above Ca to about 600, the point above Sr to about 570, and the point above Ba to about 500.

For the 'Group 13' set, the point above B corresponds to about 800 on the vertical axis, the point above Al to about 580, the point above Ga to about 580, the point above In to about 570 , and the point above Tl to about 600.

Back to Session 4 Figure 7

# Figure 21 Filling of electronic subshells between Groups 2 and 13 in the Periodic Table.

## Description

Figure 21 The diagram consists of three columns of squares. The first column is labelled 'Group 1' and coloured mauve. The second column, which is just to the right of the first, is labelled 'Group 2' and coloured green. The third column, which is much further to the right, is labelled 'Group 13' and coloured mauve.

The square at the top of the first column is labelled Li, and the square at the top of the second column is labelled Be. There is then a horizontal arrow labelled 'no intervening subshells' points to the right, and the square at the top of the third column is labelled B.

The next square in the first column is Na, and in the second column Mg. Once again a horizontal arrow labelled 'no intervening subshells' points to the right, and the square in the third column is labelled Al.

The next square in the first column is K, and in the second column Ca. A horizontal arrow labelled '3d subshells filled' points to the right, and the square in the third column is labelled Ga.

The next square in the first column is Rb, and in the second column Sr. A horizontal arrow labelled '4d subshells filled' points to the right, and the square in the third column is labelled In.

The next square in the first column is Cs, and in the second column Ba. A horizontal arrow labelled '4f and 5d subshells filled' points to the right, and the square in the third column is labelled Tl.

Back to Session 4 Figure 8

# Figure 22 The values of (I1 + I2) for the Group 2 elements (scale on left axis) and of (I2 + I3) for the Group 13 elements (scale on right axis). The two scales are different.

## Description

Figure 22 Along the horizontal axis of the graph are two sets of labels. The first set, labelled 'Group 2', are Be, Mg, Ca, Sr and Ba. The second set, labelled 'Group 13' and positioned under the first, are B, Al, Ga, In and Tl.

The left-hand vertical axis is labelled 'Group 2 (italic uppercase I subscript 1 + italic uppercase I subscript 2) in kJ mol superscript -1'. The values 1500, 2000 and 2500 have been marked along the axis.

The right-hand vertical axis is labelled 'Group 13 (italic uppercase I subscript 1 + italic uppercase I subscript 2) in kJ mol superscript -1'. The values 4000, 5000, 6000 and 7000 have been marked along the axis.

Two curves have been drawn, one labelled 'Group 2', the other 'Group 13'.

The Group 2 curve starts at the left at about 2700 above Be, drops to about 2200 above Mg, 1700 above Ca, 1600 above Sr, and 1400 above Ba.

The group 13 curve starts at the left at about 7000 above B, drops to about 4800 above Al, goes up slightly to 5000 above Ga, drops slightly to 4800 above In, and rises slightly to 5000 above Tl.

Back to Session 4 Figure 9

# Figure 23 Photo of a home water-filter cartridge.

## Description

Figure 23 A photograph of a white plastic cylindrical water filter cartridge with a vertical slot which extends from the bottom about half way up the front of the cylinder. At the top of the cylinder there is a series of vertical ridges around the circumference of the cylinder.

Back to Session 4 Figure 10

# Figure 24 An illustration of the edge of a graphite type sheet in activated carbon.

## Description

Figure 24 A hexagonal grid extends from the left-hand side of the figure. On the left, most of the edges of the hexagons are single lines, but moving to the right, most of the hexagons have double lines on two or three of their edges. At the top right edge, two adjacent corners of one hexagon have lines going to 'O H'. Further down one corner of a hexagon has a line to a 'C O subscript 2 H'. Near the lower right, one corner of a hexagon has a double line to an 'O'.

Back to Session 4 Figure 11

# Video 1 The reaction of gaseous ammonia with hydrochloric acid.

## Transcript

NARRATOR

Two gas jars. The one on the left contains an atmosphere of hydrogen chloride. The one on the right contains ammonia. Let's mix the two. The white fumes are ammonium chloride. A classic test for the presence of ammonia.

Back to Session 2 MediaContent 1

# Video 2 The dissolution of sodium in ammonia.

## Transcript

NARRATOR

Liquid ammonia is a good polar solvent, rather like water. Using a mixture of dry ice and acetone, we can condense ammonia by cooling it below its boiling point of minus 33 degrees C. It was Sir Humphry Davy who, in 1807, first noticed that adding alkali metals, such as sodium, to liquid ammonia produces a blue solution. The colour comes from electrons released from the sodium atom which are solvated by ammonia molecules. As we increase the concentration of sodium, notice the formation of a bronze, highly conducting form of the sodium/liquid ammonia system.

Back to Session 2 MediaContent 2

# Video 3 The oxidation of ammonia.

## Transcript

NARRATOR

The oxidation of ammonia to nitrogen monoxide, using a platinum catalyst, is the first step in the industrial preparation of nitric acid. Here's our small-scale version. Oxygen is bubbled through a concentrated ammonia solution.

We heat our platinum catalyst until it glows. See how it continues to glow when placed in the flask. And occasionally [POPPING NOISE] explosions occur. It's the heat produced in this highly exothermic reaction that keeps the wire glowing.

Back to Session 2 MediaContent 3

# Video 4 Heating nitrates.

## Transcript

NARRATOR

The chemical properties of nitrates vary according to the position of the metal in the reactivity series. Heating potassium nitrate produces the nitrite and oxygen. The standard test for oxygen is the relighting of a glowing splint.

Taking it a stage further, we can demonstrate the oxidising power of potassium nitrate by melting some, and adding a piece of charcoal. In this vigorous reaction, the gases evolved are carbon monoxide, carbon dioxide, and nitrogen. This is not too far removed from the chemistry of gunpowder, where charcoal and sulfur act as fuels, which are oxidised highly exothermically by potassium nitrate.

Heating lead nitrate is somewhat different. In this case, brown nitrogen dioxide and oxygen are formed.

This is silver nitrate which, on heating, again produces nitrogen dioxide and oxygen. But this time, because silver oxide is unstable, we form silver metal, which you can see on the side of the tube. Let's now take a look at ammonium nitrate.

If we heat it gently, we produce dinitrogen monoxide, as the solid melts. Like oxygen, dinitrogen monoxide will rekindle a glowing splint. In fact, it just about succeeds but perhaps there's too much water vapour around.

Back to Session 2 MediaContent 4

# Video 5 The reaction of aluminium(III) ions with hydroxide ions.

## Transcript

NARRATOR

This is an aqueous solution of potassium aluminium sulfate, often referred to as 'alum'. It contains the aluminium three plus ion. If we add dilute sodium hydroxide, we precipitate aluminium hydroxide, an insoluble base used in indigestion tablets. However, in excess alkali, we form the soluble aluminate ion.

Back to Session 4 MediaContent 1

# Video 6 Reaction of aluminium with acid and alkali.

## Transcript

NARRATOR

Aluminum is an amphoteric metal. It reacts with both acids and alkalis. On the left is an aqueous solution of sodium hydroxide. And on the right is dilute hydrochloric acid. Both reactions produce hydrogen.

Back to Session 4 MediaContent 2

# Video 7 A comparison of some reactions of thallium(I) and potassium ions.

## Transcript

NARRATOR

First, aqueous sodium hydroxide is added to a solution of potassium sulfate. And then to a solution of thallium(I) sulfate. Now, an aqueous carbonate solution is added to potassium sulfate. And then to thallium sulfate. The hydroxide and carbonate of thallium(I) are soluble, like those of potassium. This is unusual.

Soluble metal hydroxides and carbonates are rare. Potassium also forms an insoluble tetraphenylborate. Will thallium resemble it in this respect? The tetraphenylborate is added first to potassium sulfate. And then to thallium sulfate. The tetraphenylborates are insoluble. These experiments point to a resemblance between potassium and thallium.

Back to Session 4 MediaContent 3

# Video 8 The reaction of aluminium with some halogens.

## Transcript

NARRATOR

Aluminium forms solid trihalides when heated with the halogens. Here, we're heating aluminium in a stream of chlorine gas. An exothermic reaction produces white aluminium chloride. Adding aluminium foil to bromine produces aluminium tribromide in a spectacular reaction.

The iodide has the same structure. Here, we mix aluminium with iodine. A drop of water dissolves a little of the iodine and allows the reactants to mix. The heat of the reaction is enough to sublime iodine, hence the purple vapour.

Back to Session 4 MediaContent 4