## Slide 1
Energy and Flexibility Modelling
LECTURE 16 FLEXIBILITY OPTIONS IN FLEXTOOL
1

## Slide 2
Course Name
MINI LECTURE NUMBER & NAME
Mini Lecture Learning Objective
2
Learning Outcomes
By the end of this lecture, you will be able to:
ILO1: Modify the input data file to make different flexibility case studies
IL02: Implement power to EV in FlexTool
ILO3: Implement power to hydrogen and hydrogen network in FlexTool
ILO4: Implement power to heat and heat network in FlexTool
Notes: By the end of this lecture, you will be able to:
1) Modify the input data file to make different flexibility case studies
2) Implement power to E.V. in FlexTool
3) Implement power to hydrogen and hydrogen network in FlexTool
3) Implement power to heat and heat network in FlexTool

## Slide 3
3
16.1.1 Modifying the input file
16.1 Modelling flexible generation & demand
a
c
Make a copy of the template.xlsm input file and rename it.
Make the desired changes to the input file.
    The description of the content of different sheets in the input file is provided in the “Info” sheet.
    It is important to double check the input file before running the model since a typo in the input file can crash the model.
Add the input file to the active input files
Notes: As discussed in lecture thirteen, there are various flexibility options in the power grid. To achieve higher penetration of variable renewables in the power grid and meet the energy transition goals, flexibility should be harnessed in all sectors of the energy system. In this lecture, we discuss how to implement different flexibility options in FlexTool.
In order to implement the flexibility options in FlexTool, the input data file should be modified. To do so, first, you should make a copy of the Template.xlsm file and rename it. After making changes to the new input file, to run the model, you should add it to the active input file in FlexTool.xlsm, by clicking on an empty cell in the active input files column. The model file FlexTool.xlsm is the same for all countries, and model instances are made by adding country-specific or case-specific data to input data files. The structure of the model, such as the number of nodes, modelled technologies etc., is defined in the input file. When preparing input data files, modellers need to decide the structure of the model. Make sure to double-check the input file after making changes because a typo in the input file can crash the model.

## Slide 4
4
16.1.2 Modelling flexible thermal generators
a
c1
Technical characteristics of generation units are defined in the “unit_type” sheet.
Specific country/node capacity and fuels of those unit types are defined in “units” sheet.
To add a technology:
    Add a new row in the “unit_type” and specify all the necessary technical characteristics
    Add a new row in “units” and then choose the technology from unit type list.
    Specify the input to the generator which can be fuel, cf-factor (for solar or wind), inflow (hydro), or an energy vector, such as electricity or heat from an input grid
    Specify the output grid and location
    Specify the Installed capacity and Max investment
b
c2
c3
c4
c5
16.1 Modelling flexible generation & demand
Notes: Technical characteristics of generation units are defined in the “unit_type” sheet, as shown in the first figure. Here you can add new technologies or modify the flexibility characteristics of different technologies such as ramping capability, inertia constant, minimum stable load, etc. Then in the “units” sheet, you can set the capacity of those units and the node they are located as shown in the bottom figure. Here the structure of the grids and the flow of fuels or energy vectors are set.
For example, to specify the generation capacity in node A, you should first add an empty row, then select the technology under the column unit type. Please note that dark blue cells have dropdown menus to choose names defined in violet or green cells in other sheets. For each technology, you should then choose the type of fuel from the list. If the technology is variable solar or wind, you should add the capacity factor. This is the available output at each time step for each unit of capacity installed. Next, add the capacity factor in the column cf profile. The capacity factor profiles for solar and wind can be found and updated in the ”ts-cf” sheet. For some technologies, such as hydro, the inflow should be specified. Then the output grid should be set. In the case of power generators, the output grid is the electricity grid. After that, the location of plants or the output node should be set. The capacity is the total capacity of that technology installed in the output node. Therefore if only a single node is used to represent a country, this will be the total installed capacity of that technology in the county. If a country is divided into different nodes, such as the template case, then the capacity of each technology at each node should be specified separately. You can also set the maximum investment for each technology, which is the maximum capacity that the model can invest in the specified output node. For example, in this case, the maximum installed capacity of PV in node A cannot be more than 500 MW. Evidently, the total maximum capacity of PV for the whole country is the sum of maximum PV capacities in all nodes.

## Slide 5
5
16.1.3 Modelling hydro power/storage
Two types of hydro generators can be modelled in FlexTool:
Run of the river hydro (Hydro_ROR): It is similar to defining a thermal generator with some differences:
The natural inflow times series (MWh/h) should be defined in the “ts_inflow” sheet
Assign the inflow to hydro-ROR unit in “units” sheet by selecting inflow input option.
Define inflow multiplier (1 as default) in “units” sheet.
Hydro with reservoir (Hydro_RES): In addition to steps for Hydro_ROR
d) a value for the storage capacity should be set in “storage (MWh)” column in the “units” sheet.
a
b
d
16.1 Modelling flexible generation & demand
Source: IRENA 2020a
Notes: Hydropower is the most flexible generator in many regions. It has a swift response rate and very flexible operation; however, the capacity of hydro units can vary with the annual precipitation level. Two types of hydro generators can be modelled in FlexTool, Run of the river hydro, which usually does not have storage capability, and Hydro with reservoir. Defining hydropower is similar to other generators, but some additional steps are required. First, you should define the natural inflow data in the “ts_inflow” sheet. Then in the sheet “unit”, it should be assigned as the inflow to hydro units.
Hydro units are similar to solar and wind units but use “ts_inflow” data instead of “ts_cf” as input. Set the inflow multiplier to 1 in the sheet “units”. In addition to previous steps, for Hydro with reservoir, you should also specify the total storage capacity in MW in each output node. You can also define the storage level at the start and finish time steps. But this is optional, and if it is left empty, the start level should equal the finish level.

## Slide 6
6
16.1.4 Modelling hydro power/storage
To add hydro to an output node:
An inflow profile should be added to the “ts_inflow” sheet.
Set the name in this format: “output node_Hydro technology”, e.g. nodeB_RES
The data will then appear in the inflow dropdown menu list and can be assigned to the associate hydro technologies and output nodes.
Same stapes should be followed to add variable renewables in different nodes.
c
a
16.1 Modelling flexible generation & demand
b
Notes: In order to add Hydro in different nodes, first, the inflow profile should be defined in the “ts_inflow” sheet. You should then specify the name. It is recommended to set the names in this format: “output node_Hydro technology”, for example, node B_R E S. The data will then appear in the inflow dropdown menu list and can be assigned to the associate hydro technology and the output node. If the added Hydro has storage capability, the storage capacity should also be specified for the output node.
The same stapes can be followed to add variable renewables to different nodes using the “ts_cf” sheet.

## Slide 7
7
16.1.5 Modelling demand-side management
a) In FlexTool demand response is defined as a generator in the “unit_type” sheet:
Demand response increase: Generator with negative price, empty discharging efficiency and a charging efficiency
Demand response decrease: Generator with positive price, discharging efficiency and no charging efficiency
b) The Capacity of demand response should be defined in the “units” sheet:
Demand increase: negative capacity
Demand decrease: positive capacity
16.1 Modelling flexible generation & demand
a
b
Notes: In FlexTool, demand response is defined as a generator. Therefore its characteristic should be defined in the “unit_type” sheet. Since demand response is modelled as a generator, it is moved to the other side of the demand-supply balance, and reverse signs should be used. Demand response increase is defined as a generator with a negative price, empty discharging efficiency and a charging efficiency. Demand response decrease is defined as a generator with a positive price, discharging efficiency and no charging efficiency. Demand can respond instantaneously to signals from the grid; therefore, the ramp-up and down rates can be set to 1.
Like other generator units, the demand response capacity should be defined in the “units” sheet with a negative value for demand increase and a positive value for demand reduction.

## Slide 8
8
16.2.1 Modelling storage
Power storage is defined in the “unit_type”, with some additions compared to other generators:
  Efficiency(%): Discharging efficiency
  Eff.charge(%): Charging efficiency
  Self-discharge loss (% of content per hour)
Same as other units in the “units” sheet the following parameters should be defined:
d) Installed capacity in MW
e) The output node
f) Maximum storage capacity in MWh
g) Initial and final state of the storage (optional)
a
b
c
d&e
f&g
16.2 Modelling flexible storage & transmission
Notes: Electricity storage units should also be defined as the same as other generators with some minor differences. For power storage units, you should define separate charging and discharging efficiencies. Also, for some types of storage, you may need to specify the self-discharge loss, which is the loss of stored energy from storage at each hour. Batteries have instantaneous response rate and can ramp up or ramp down their output quickly. Therefore you can set the ramp rates to 1.
The other important point about batteries is that they are non-synchronous units, the same as PV and wind. Therefore this column should be set to 1.
In the “units” sheet, you should define Installed capacity in MW, Output node, and Maximum storage capacity in MWh. You can also define the initial and final state of the storage but they are optional.

## Slide 9
9
16.2.2 Modelling storage
There are two options for defining investment for electricity storage units:
Fix power to energy ratio:
It will use a fixed discharge duration for battery units. For example, in the example the model only considers 2-hour duration batteries in optimisation.
Only investment cost per energy (KWh) should be defined in this case.
b) Free optimisation of power and energy:
Optimises power and energy separately, and there is no need to define the power/energy ratio
Both investment cost for power and energy should be defined.
16.2 Modelling flexible storage & transmission
a
b
Notes: There are two options for defining investment for electricity storage units: the first way is to fix the power to energy ratio. This will fix the discharge duration for storage units, for example, 2-hour or 4-hour units. In other words, the model only considers storage units with this fixed discharge duration. The only investment cost required in this case is the investment per energy stored. The second option is to use a free optimization of power and energy. In this case, there is no need to define a power to energy ratio, and you should set the investment required per unit energy and investment per unit power. The model optimizes power and energy separately. That is to say; the model can use storage units with different storage durations.

## Slide 10
10
16.2.3 Modelling transmission
It is possible to model different networks in the “gridNode” : e.g., Electricity network, gas network, heat network, etc.
For all the nodes on each grid you should specify:
The demand
Import and export
The capacity margin
The nodes can be grouped together in order to set whole system
constraints in “Nodegroup”
For each group you should specify:
d. Capacity margin
e. Maximum non-synchronous share
f. Inertia requirements
g. Availability of reserve
h. You can assign the node groups to different nodes in the “gridNode”
b
a
c
d
16.2 Modelling flexible storage & transmission
e
f
g
h
Notes: You can model different networks such as gas grid, electricity grid and heat network, in the “gridNode” sheet. Each grid can be represented by a single node or multiple nodes representing different regions on a grid. The grid can also cover only some regions. For all the nodes of a grid, you should specify the aggregated demand in each node, whether there is import or export, and their capacity margin. Nodes can be grouped in order to set whole system constraints such as inertial requirements, total system capacity margin requirements, etc. You can define the node groups in the “Nodegroup” sheet. Then you can specify the group specifications such as the inertial requirement, maximum non-synchronous share, capacity margin requirements, and availability of reserve. You can assign the groups to different grids in the “gridNode” sheet.

## Slide 11
10
16.2.4 Modelling transmission
Node A
Node B
Transmission links between nodes of each network are defined in the “nodeNode” sheet.
Both nodes on a connecting link have to be from the same grid
Existing transmission links can have different capacities in different directions.
Future investments will always have equal capacity in both directions.
16.2 Modelling flexible storage & transmission
Notes: The transmission links between nodes of each network are defined in the “nodeNode” sheet. All the available links between different nodes should be defined here. When defining the linking between nodes, it is important to note that both nodes have to be from the same grid. The existing transmission links can have different capacities in different directions; however, further investments will always have equal capacities in both directions.

## Slide 12
11
16.2.5 Modelling transmission losses
Node B
Node A
v transfer
v transfer rightward
v transfer leftward
Transmission with losses requires at least two variables
  A linear equation with ‘loss x transfer’ would mean that in the other direction loss is actually a gain
The loss can be used to make the model leak
  Instead of curtailing VRE, the model can dissipate energy by transferring in two directions at once
  Can be controlled only with a binary variable (not allowed in FlexTool)
Hence, three variables (v): transfer, transfer rightward, and transfer leftward
  Transfer does not contain loss
  Transfer rightward allows losses and helps to limit the leakage
  Transfer leftward helps to limit the leakage further
16.2 Modelling flexible storage & transmission
Source: IRENA 2020a
Notes: Modelling transmission with losses requires at least two variables. If only one linear equation is used, such as ‘loss x transfer’, it would mean that in the other direction loss is actually again. The loss variable can be used to make the model ‘leak’. Therefore instead of curtailing variable renewable energy, the model can dissipate energy by transferring in two directions at once. The loss can be controlled only with a binary variable, but that is not allowed in FlexTool. Hence three variables are defined: transfer, transfer rightward, and transfer leftward
The first one is the transfer does not contain loss
The second is the transfer rightward allows losses and helps to limit the leakage
The third is the transfer leftward helps to limit the leakage further

## Slide 13
13
16.3.1 Power to heat
Heat grid
Power to heat devices, e.g., Heat pump, electric boiler:
Defined the same as a generator but in heat grid
Other heating devices, e.g., gas boiler or solar thermal:
Defined the same as a generator but in heat grid
Heat Demand
Thermal storage
Define the demand profile in “ts_energy” sheet
It represents heat demand in the system
Defined the same as electricity storage but in heat grid
Usually it has the property: “self-discharge loss”
Power grid
Natural gas, hydrogen grid, or renewable sources
16.3 Modelling power to heat
Source: IRENA 2020a
Electric heat generator
Non- Electric heat
generator
Notes: In lecture thirteen, it was discussed that a heating system composed of a heat pump and thermal storage could provide flexibility to the power system. This is done by generating heating when there is abundant renewable in the system and electricity prices are low. Power can be stored in the thermal storage and used at a later stage to cover heat demand when variable renewable generation is low or electricity prices are high. In this lecture, we discuss how to represent the power to heat flexibility option in FlexTool. In FlexTool every demand service is represented as a grid consisting of demand for that service, the heat generator units and thermal storage units. Therefore the first step in defining the power to heat flexibility option in FlexTool is to define a heat grid. Like the power grid, the heat grid is composed of heat demand, electric and non-electric thermal generating units, and thermal storage units.
First, you should add heat demand and define the heat grid. The power and heat sector coupling then takes place through electric heating units that convert power to heat. Heat generating units are defined in the same way as power generating units. The main difference is that their input grid is the power grid, and their output grid is the heat grid. In FlexTool the output heat is supplied to a heat grid which will either supply heat demand or is stored in thermal storage units. For non-electric heating units, the input grid can be a gas grid or renewable sources (set as fuel). The thermal storage units are also defined the same way as power storage units, but in this case, so their input and output are to the heat grid.

## Slide 14
20
16.3.2 Modelling heat demand
To define a heat network:
The heat grid should be defined in the “gridNode” sheet. Please note that same as the power grid, the heat grid can be represented by a single node, multiple nodes, or only cover a certain region.
The heat node group can be defined in the “nodeGroup” on the heat grid to specify the network characteristics.
The temporal profile of heating demand should be added in the “ts_energy” sheet.
c
a
16.3 Modelling power to heat
b
Notes: To define a heat network: First, you should define a heat grid in the “gridNode” sheet. Same as the power grid, the heat grid can be represented by a single node, multiple nodes, or only cover a certain region. Then you should specify the total demand at each node. As explained in the case of the power grid, if you use more than one node, the transmission link between the nodes should be specified in "nodeNode" sheet. You can also define a node group for heating in the “nodeGroup” sheet and use it to set parameters for the whole heat grid. Finally, you should add the temporal profile of heating demand in the “ts_energy” sheet.

## Slide 15
19
16.3.3 Modelling Heat Pumps
Defining heat pump is same as power generators with some differences:
a) In the “units” sheet electricity should be set as input grid and heat as output grid
b) In the “unit_type” sheet there are two ways to define heat pump efficiency:
  1. Static efficiency : Defined directly as “conversion eff”
  Or
  2. Dynamic efficiency :
  2.1 Activate option “use efficiency time series” in the “units” sheet
  2.2 Define efficiency time series in the “ts_unit” sheet
b2.1
b2.2
b1
16.3 Modelling power to heat
Notes: Defining heat pumps is the same as power generators, and the input parameters should be defined in both “unit_type” and “units” sheets. However, in the case of heat pumps, there are some differences. The first difference is that since a heat pump converts electricity to heat, in the “units” sheet, electricity should be set as input grid and heat as the output grid.The other point about a heat pump is that its efficiency varies with the outside temperature. Therefore, there are two ways to define heat pump efficiency. The first option is to use static efficiency. This can be easily defined by setting an average value for heat pump performance to “conversion eff”. The second option is to use dynamic efficiency by activating the option “use efficiency time series” in the “units” sheet and then specify efficiency time series in the “ts_unit” sheet.

## Slide 16
21
16.3.4 Modelling CHP units
CHP
Electricity
Heat
Fuel
There is a relationship between heat and electricity
output of a CHP plants, being one of the outputs limiting the other. The relationship can be defined as:
Inequality constraints:
and
Equality constraint :
16.3 Modelling power to heat
Source: IRENA 2020a
Notes: A combined heat and power (C.H.P.) unit is a generator that can produce both heat and electricity. Technical characteristics should be defined in the “unit_type” sheet as with any other generator. Then in the “units” sheet, you should define output one as electricity and output two as heat. There is typically a relationship between the heat and electricity output of a C.H.P. unit, as one output will limit the other. The relationship between the two outputs can be defined as equality or inequality constraints. The user-defined coefficients of these equations should be added to the "units" sheet as shown here.

## Slide 17
22
16.3.5 Modelling concentrated solar power
CSP grid
Power grid
CSP generator
(Heat to power)
CSP Collector
CSP Storage
Solar availability time series in “ts_cf”
Same as solar PV generator but in CSP grid
Same as electricity storage but in CSP grid
Modelled same as a heat pump but heat is converted to electricity in this case
16.3 Modelling power to heat
Source: IRENA 2020a
Concentrated solar power (CSP) units is defined as a single node grid with zero demand in “gridNode”.
Notes: To model concentrated solar power (C.S.P.), the same steps as the heat grid should be followed. The whole C.S.P. units are defined as a single node grid with zero demand in the “gridNode” sheet.
The C.S.P. grid consists of the following:
Solar as fuel and its availability which is set in the “ts_cf” sheet,
C.S.P. collector as a generator which defined in “unit” and “unit_type” sheets.C.S.P. storage which is the same as storage units in power and heat grids and is defined in the “unit” and “unit_type” sheet
And finally, C.S.P. generator that is modelled the same as a heat pump, but in this case, heat is converted to electricity; therefore, it is a power generator unit.

## Slide 18
18
16.4.1 Power to hydrogen
Hydrogen grid
Power to hydrogen units, Fuel cell and electrolyser:
Defined the same as a generator but in hydrogen grid
Other hydrogen generating units such as SMR:
Defined the same as a generator but in hydrogen grid
Hydrogen Demand
Hydrogen storage
Define the demand profile in the “ts_energy” sheet
It represents hydrogen demand in system
Defined the same as electricity storage but in hydrogen grid
In FlexTool a hydrogen network with different nodes could also be modelled
Power grid
Natural gas
16.4 Modelling power to gas & EV
Source: IRENA 2020a
Notes: As was mentioned in previous lectures, different end-use services are modelled as different grids in FlexTool. Therefore, in order to model the power to hydrogen flexibility option, first, you need to define a hydrogen grid. Like other power and heat networks, the hydrogen grid consists of hydrogen demand, hydrogen storage technologies, and hydrogen generation units. The demand for hydrogen can originate from different sectors such as industry, mobility, heating demand, aviation, etc. Like electricity, hydrogen is versatile in its production and can be produced from various resources. The interaction between the power grid and hydrogen grid takes place through two key technologies: electrolysers that absorb electricity and convert it to hydrogen; and Fuel Cells that absorb hydrogen and convert it back to electricity. One of the key benefits of hydrogen is that it can be stored at a large scale using cheap gas storage technologies such as underground caverns, which is currently much cheaper than storing power in batteries. Therefore the abundant renewable in the power grid can be converted to hydrogen and stored over a long period.

## Slide 19
19
16.4.2 Modelling hydrogen grid
a
b
c
To model a hydrogen grid:
Define a grid in the “gridNode”.
Add hydrogen to the “nodeGroup” .
Add hydrogen demand to the “ts_energy”.
To add hydrogen grid in more than one node, the connection between the nodes should be defined in the “nodeNode”.
16.4 Modelling power to gas & EV
Notes: The first step to model a hydrogen grid in FlexTool is to define a hydrogen grid in the “gridNode” sheet and specify the total demand and import-export if there is any. If the hydrogen grid is available in different nodes of a region, it should be defined for different nodes. Then a node group for hydrogen should be defined in the “nodeGroup” sheet. Finally, the hydrogen demand profile at each node should be added to the “ts_energy sheet”. Please note that if the hydrogen grid is available in more than one node, the connection between the nodes should be defined in the “nodeNode” sheet.

## Slide 20
20
16.4.3 Hydrogen generation and storage units
a
b
Add hydrogen generation/storage units in the “unit_type” and add the main characteristics.
  For hydrogen storage the inv.cost /KW should be set to zero.
Add the units to “unit” sheet and define the output grid as hydrogen.
  For electrolyser the input network should be set to electricity.
  For hydrogen storage the storage capacity should be specified.
16.4 Modelling power to gas & EV
Notes: Modelling hydrogen generation/storage units is the same as power generators. First, the units should be defined in the "unit_type" sheet, and their main characteristics, such as efficiency, investment cost, and so on, should be specified. One important point is that, with hydrogen storage, the investment cost per KW should be set to zero, and the "fixed KW over KWh ratio" does not need to be specified. All the units should then be added to the "unit" sheet, and their capacity should be defined. The storage capacity should also be specified for hydrogen storage units. For all the hydrogen/storage units, the output grid should be set as the hydrogen grid. For electrolyser, the input network should be set to electricity.

## Slide 21
21
16.4.4 Power to EV
  The three key EV charging scenarios are:
  Evening uncontrolled charging: EVs will charge at maximum power as soon as they are plugged into to the grid, mostly during evening hours.
  Night controlled charging: Charge is distributed during the night and coincides with wind availability and low power demand
  Day controlled charging: Charge coincides with the solar PV profile
a
b
c
16.4 Modelling power to gas & EV
Source: IRENA 2020a
Notes: The third sector coupling alternative is facilitated through the electrification of transport with electric vehicles. Electric vehicles can have different charging strategies. The simplest one is uncontrolled charging, in which an E.V. will charge at maximum power as soon as they are plugged into the grid, mostly during evening hours. However, uncontrolled charging is not flexible and can pose a challenge to the power system and increase flexibility requirements of the system if the number of connected electric vehicles is high.
On the other hand, when charged smartly, electric vehicles can provide demand-side flexibility to the system by optimising the charging process according to distribution and transmission grid constraints and local availability of renewable energy sources. Two of the key smart charging strategies are:
Night controlled charging, in which charge is distributed during the night and coincides with wind availability and low power demand.
Day controlled charging, in which charge coincides with the solar PV profile.
The demand for mobility in each strategy should be estimated, and the predefined demand profiles should be added in the “ts_energy” sheet in FlexTool.

## Slide 22
22
16.4.5 Modelling EV
Electro-mobility grid
Demand
Reserve
Define the demand profile in the “ts_energy” sheet.
This demand represents discharge of battery for mobility.
This demand is estimated and projected over the planning horizon and should be added as input.
Defined reserve profile in the “ts_reserve” sheet.
This is used to represent the amount of EVs that are connected to grid in a time period.
Power grid
Discharge
Charge
Ancillary services
Simultaneity factor
16.4 Modelling power to gas & EV
Source: IRENA 2020a
Notes: Like other end-use services, to define power to E.V. in FlexTool, you should first define an Electro-mobility grid. An electro-mobility grid can be a single node or multiple node grid. The next step is to estimate and project demand for mobility and electric vehicles over the planning horizon in different nodes on the grid. You can use other software for this. Then you should define the demand for mobility in the “ts_energy” sheet. This demand represents the discharge of the battery for mobility. There are three options for defining electric vehicles in FlexTool. Option one is unidirectional charging based directly on demand for mobility. In this option, there is only one direction charge in which the charger converts grid electricity to electric vehicles. Option two is unidirectional charging with a flexible charging schedule. In this option, the charger converts grid electricity to electric vehicles, and the battery provides a temporal shift in the charging schedule. Option three is bidirectional charging with a flexible charging schedule. In this option, one charger converts grid electricity to electric vehicles. The battery provides a temporal shift in the charging schedule. In this case, there is also another charger that converts energy from the Electro-mobility grid (electric vehicles) back to the electricity grid. In the FlexTool package, an example case with electric vehicles is included in the input file named template-e vees. The users are encouraged to review how an E.V. grid is implemented in that case study.

## Slide 23
Course Name
MINI LECTURE NUMBER & NAME
Mini Lecture Learning Objective
23
Lecture 16 References
IRENA (2020a), “Modelling different flexibility options” (2020), International Renewable Energy Agency, Abu Dhabi, https://www.irena.org/energytransition/Energy-System-Models-and-Data/IRENA-FlexTool-Training-Materials
IRENA (2020b), “Basic Training ” (2020), International Renewable Energy Agency, Abu Dhabi,
https://www.irena.org/energytransition/Energy-System-Models-and-Data/IRENA-FlexTool-Training-Materials