## Slide 1: Lecture 9 Finance
The Electricity Transition Playbook
Version 1.0
Supported by and in collaboration with CCG and Green Grids Initiative

## Slide 2: Agenda
Lecture Summary
This lecture aims to provide energy sector specialists with a primer on financing in order for them to better understand how projects move from the planning stage through to completion. The module is focused on financing of large-scale infrastructure projects (links are provided for other material for understanding financing of distributed energy supply models is provided).
Intended Learning Outcomes
By the end of this module, you will:
Understand the basic principles of the finance sector
Understand different sources of finance, and the key factors that different providers of capital consider when making investments
Explore the different financing structures used in different country contexts for power generation and grids projects using case study examples.
Notes: This lecture aims to provide energy sector specialists with a primer on financing in order for them to better understand how projects move from the planning stage through to completion.
By the end of this module, you will:
Understand basic principles of finance
Understand different sources of finance,
Start to explore different financing structures

## Slide 3: Lecture structure
Finance structures - the basics
  Risk & return, debt & equity, cost of capital
  Public and private financing structures
Sources of finance
  Sources of private and public finance
  Climate finance, risk mitigation and other elements of financing
Role of Government
  Enabling environment
  Mobilising finance
4. Examples of financing structures for electricity generation
  Including corporate & project finance
5. Examples of Financing transmission
  Public and private sector-led financing structures
Case Study: Data-2-Deal

## Slide 4: Key takeaway messages
All investors have to balance risk and return. A project’s ability to deliver financial returns will face different types of risk depending on the context. Sources of finance with higher risk tolerance will need to generate higher returns, making them a more costly way to raise capital to finance projects.
Allocation of risk to investors will depend on the business model. Various models are explored for electricity generation and transmission projects.
Concessional finance is available from development finance institutions (DFIs) – e.g. multi-lateral development banks – on terms that are more favourable than commercial finance. However, this tends to be limited in volume, and is not sufficient to entirely finance the infrastructure needs of emerging and developing economies.
Blended finance combines concessional finance with larger volumes of commercial capital by using the concessional finance to reduce the risk exposure of other financiers.
A variety of risk mitigation products can also be used. These include partial risk guarantees or insurance products from DFIs, or sovereign guarantees from the host government. The latter may be constrained by sovereign debt limits.
A more systemic and sustainable long-term approach is to reduce risks in order to attract capital at more favourable rates. This requires an improvement in the business case of the project, typically by improving a country’s policy and regulatory regime.
A case study sets out how governments can create more favourable investment conditions by improving national and sectoral planning processes, with careful policy design which includes internal and external financial stakeholders.

## Slide 5: Global investment needs in the power sector
Source: IEA World Energy Outlook 2022 https://www.iea.org/reports/world-energy-outlook-2022
Notes: Key messages:
Power sector investment is set to increase; up from an annual average of USD 860 billion in the 2017-21 period, with renewables and grids representing the largest shares
STEPS is the ‘Stated Policies’ scenario which implements existing implemented policies for economic development and decarbonisation
APS is the ‘Announced Policies’ policy scenario, which includes new policies that have been announced but not yet implemented
Additional investment beyond those shown here would be needed to reach net zero, since announced policies are not yet sufficient to be on this pathway.

## Slide 6: Finance structures - the basics
Section 1

## Slide 7: Risk and Return
Sources of risk | Examples
Country risk | political risks, security, government stability, status & transparency of legal system
Financial and economic risk | economic growth, inflation, interest rates, currency & exchange rates
Policy, and regulatory risk | changes to tariff structures, subsidy regimes, permitting requirements
Technical and project-specific risk | construction risk, technological risk, environmental risk, operational / performance risk
Market risk | future demand and supply balance, market pricing risks, fuel prices, subsidy prices
Key message: higher risk projects will require investment sources with greater risk tolerance. As a general principle, these sources will require higher levels of return. Higher project risk therefore makes it more expensive to raise capital. The table shows various sources of risk affecting energy projects.
Notes: Key messages:
A fundamental principle of finance is that higher risk projects will require higher levels of return.
  This means higher interest payments in the case of debt, or higher dividend payments in the case of equity.
  Balancing risk and return allows finance companies to absorb losses from projects that turn out worse than expected by balancing against better performing projects.
  The finance sector operates under strict regulatory guidelines on how much risk they can take. Risk tolerance varies according to the type of lender and the type of financing instrument
For energy companies, this means that higher risk projects will be more expensive to finance.

## Slide 8: Debt vs. equity and the cost of capital
EQUITY FINANCE
Equity / Share Holders
Owners of the company
Have voting power
Receive dividends and capital gains
Take risk: no dividend if the company makes losses
Expect higher return
Dividend is taxable
DEBT FINANCE
Creditors / Lenders
Lend funds at an agreed cost for a specific period
Receive payments for principal and interest whether the company makes or loses money
Priority claim on assets
Less risk, less expensive
Interest is tax deductible
Source: CCG_Track5_Lecture2 OpenLearn series
There are two main types of capital, debt and equity
These have different tolerance of & exposure to risk, reflected in the way their money is paid back
Equity takes higher risk and requires higher return (more expensive for project financing)
Notes: EQUITY:
Equity refers to funds put into the project by promoters or shareholders of the company.
Equity holders are owners of the company, and they have voting power, and therefore are in control of the corporation.
They receive dividends based on net profits and benefit from capital gains if share price increases.
Equity holders take risk. They would receive no dividend payments if the company make losses.
In the case of bankruptcy, shareholders would have residual claim over the company’s assets, that is after the lenders' claims.
As they take higher risk, therefore, they expect higher return on their investment.
Dividend is taxable.
Now to discuss DEBT:
Those who lend money are the creditors. They are not the owners.
They lend funds at an agreed interest rate for a specific period.
Debt is issued in the form of loans or bonds.
Lenders receive payments for principal and interest, irrespective of whether the company makes profits or losses.
In the case of bankruptcy, lenders would have a priority claim over the company’s assets.
As lenders take less risk, therefore, debt financing costs less than equity finance.
In addition, interest is tax deductible. These features of debt improve the return from the project's net cash flow, and hence are beneficial for the shareholders.
Therefore, higher debt improves the project return; however, it also increases the risk of bankruptcy.
Total cost of capital
The cost of capital for a project or company is the weighted average of the cost of debt and the cost of equity.
Energy companies often try to maximise the level of debt in their projects to reduce the cost of capital.
However, debt-providers will restrict the amount of debt they are willing to provide depending on the risk levels of the investment in order to avoid risk of default.

## Slide 9: Cost of Capital estimates by region and technolology
IRENA (2023), The cost of financing for renewable power, International Renewable Energy Agency, Abu Dhabi.
Notes: The mix of debt and equity for wind and solar projects varies considerably by region, reflecting the different ways the industries have developed in each region.
In general, the overall cost of finance depends on the risks associated with each region, which reflect overall business risks as well as specific policy regimes associated with renewable energy investment (these will be covered in later slides)

## Slide 10: Key financing structures
Source: CLDP Understanding Power Project Financing
Notes: Two key types of financing structures are used in the energy sector, ‘Corporate’ and ‘Project’ finance.
The first two diagrams are examples of Corporate finance.
  The first diagram relates to a state-owned utility who would both fund and develop the project, and be the ‘offtaker’ (i.e. the organisation that receives the electricity from the project). State-owned utilities’ debt usually sits on the government balance sheet, or can sometimes be from sub-sovereign bonds, but in both cases the ability to raise debt can be constrained by government debt limits.
  The second diagram relates to funding being provided by a private corporation. In this case, it would provide it’s own equity, and raise corporate debt on the financial markets. The electricity from the project would be sold to the offtaker (usually the state-owned utility). The terms of this sale are determined by a Power Purchase Agreement (PPA) which is covered in the next slide. Any additional profits from the project would then flow back to the developer to payoff its debt obligations to lenders and equity dividends to shareholders.
  For both examples, risks to lenders are assessed against the likely financial performance of the country or company as a whole.
The third diagram shows a Project finance (or non-recourse/limited-recourse finance) structure. In this case, debt is provided for a specific project, legally established as a standalone project company Various legal contracts are put in place to structure this kind of investment, including the Power Purchase Agreement (PPA), supply and operation contracts and repayment terms for shareholders.
The amount of project debt made available will be linked to the cash flow that the project is forecast to generate over a period of time. This amount is then adjusted to reflect inherent risks. e.g. fluctuations in the production and sale of power, operational risks or power price variations relating specifically to that project.
Project equity is provided by different types of organisations, including project developers, institutional investors and others.

## Slide 11: Pros and cons of public and private financing structures
Structure | Strengths | Weaknesses
Host Government finance | Lower financing costs, particularly if concessional financing is available or if the host country is able to raise funds by issuing bonds on international capital markets Fewer coordination challenges | Opportunity cost of capital Significant cash required from government which may be constrained by sovereign debt limits
Developer finance | Fewer coordination challenges No cash required from government | Limited number of developers with appetite for this structure
Project finance | No cash required from Government Project risk efficiently and equitably allocated to parties willing and able to bear the risks Thorough due diligence and performance guarantees required by project company | Complex coordination challenges Projects take more time to reach operations Higher up-front costs
Source: CLDP Understanding Power Project Financing
Notes: Host government finance uses the national balance sheet to underwrite the investment
Developer and Project finance routes are predominantly private-sector led, but public finance may also play a role e.g. through climate funds, guarantee instruments etc. (see later slides)

## Slide 12: Power Purchase Agreements
A power purchase agreement is a contract between the project company (the seller) and the ‘offtaker’ (the organisation that buys the electricity).
In many emerging markets, the offtaker is often the government owned utility, but it may be a private organisation that is buying electricity for it’s own consumption where this is allowed within the regulations.
The bankability of a PPA will depend on various factors:
  Term (duration) of the PPA – is it well matched to the financing structure
  Reliability of the tariff - is it subject to regulatory or tax changes
  Offtaker creditworthiness - can the buyer honour the payment terms of the contract?
  Sponsor quality - how financially robust are the owners / equity providers?
  Currency / exchange rate risks – are the payments in the same currency as the loans?
  Termination arrangements and rights in the event of payment defaults
https://cldp.doc.gov/sites/default/files/PPA%20Second%20Edition%20Update.pdf
Notes: Power Purchase Agreements are a key part of the financing structure in the second and third examples shown above
They determine the revenues from the project by specifying all the key elements relating to the sale of electricity from the project
A well-designed Power Purchase Agreements is an essential component of making projects bankable (i.e. able to raise finance)

## Slide 13: Sources of Finance
Section 1

## Slide 14: Sources of capital: 1. Commercial debt
Institution | Type of finance provided | Application
Commercial banks | Corporate debt | This includes a range of applications such as: Short-term ‘working capital facility’ loans, Senior debt (loans) for longer-term investments.
 | Project debt finance or non-recourse/limited-recourse finance | Debt is borrowed for a specific project, legally established as a standalone entity
 | Mezzanine debt finance | Sits between senior debt and equity in the order of repayment if the project suffers financial distress. It takes intermediate levels of risk and finance costs lie in between the costs of debt and equity.
 | Refinancing debt | Debt is refinanced when the term of the original loans finishes, or when the risk profile of the project changes, making it attractive to new types of lender
 | Investment banking | Brokering and underwriting the initial sale of major assets such as projects or companies to raise debt (in the form of bonds) or equity (in the form of shares) from the wider financial markets
Source: BNEF https://www.bbhub.io/bnef/sites/4/2016/08/Finance-Guide-for-Policymakers-RE-GreenInfra-August-2016.pdf
Notes: Key Messages
Commercial banks are a key source of debt finance
This debt can be used in a number of applications within both corporate and project finance (details on the slide)
The duration of loans (or ‘loan tenor’) is a key issue when considering how to finance projects, and different types of product are available depending on the bank and the type of project.
Lending decisions will be made by investment committees who decide on the investment strategy which guides their asset allocation decisions to different types of companies and projects.
See link for more details.

## Slide 15: Sources of capital: (2) Commercial equity
Institution | Type of finance provided | Application
Venture capital | Equity | Higher-risk & return finance for early stage investment, with rapid exit
Private equity | Equity | Medium risk and return, expect to exit in 3-7 years
Institutional investors (e.g. pension funds, insurance companies), and infrastructure funds | Equity (shares) or debt (bonds) | Low risk and return investment of long-term capital in established projects or companies with a reliable return over a long duration, typically 15 years or more
Other (e.g. corporates, foundations, high-net-worth individuals, impact investors, crowd-funding) | Equity. | Usually lower volumes compared to the above financial market sources, but can be important in some niche applications.
Source: BNEF https://www.bbhub.io/bnef/sites/4/2016/08/Finance-Guide-for-Policymakers-RE-GreenInfra-August-2016.pdf
Notes: Key Messages
Venture capital and private equity are well suited to funding the early stages of project development or establishing new businesses, and will usually look to exit projects at a fairly early stage.

## Slide 16: Sources of capital: (3) International public finance
Institution | Type of finance provided | Examples / application
Bilateral Development Finance Institutions (DFIs) | Debt and equity | DFIs are development-focused and most active in markets where there is limited access to private finance. DFIs can lower pricing of finance, lengthen tenor (duration of loans), add transparency and offer coverage for investors in places of high risk.
Multilateral development banks (MDBs) | Debt, equity credit enhancement | MDBs are international DFIs with governmental membership. They also provide debt and equity. Some of this may be ‘concessional’, i.e. supplied at lower cost than commercial finance. As well as debt and equity, MDBs can provide a variety of credit enhancement products, including partial credit guarantees for private sector projects and companies to mobilise private sector financing.
Export Credit Agencies (ECAs) | Risk guarantees and insurance | ECAs are established by a country's government to promote export of its goods and services. ECAs provide cover to a transaction by means of insurance or by means of a direct guarantee of payment.
Further information: https://www.oecd.org/development/development-finance-institutions-private-sector-development.htm
Notes: Additional notes
Bi-lateral The aim of DFIs is to support government objectives and provide funding to projects that fall within their prescribed mandates. DFIs/multilaterals usually have comprehensive criteria around environmental and social issues that need to be fulfilled as a condition to their participation in the funding.
Development banks are multilateral organisations with membership comprising many different countries. Examples such as the African Development Bank (AfDB), Asian Development Bank, International Finance Corporation (IFC), World Bank etc.) ECAs’ insurance cover or guarantees could be a combination of commercial and political risk cover or only political risk cover. Where ECAs are involved, exporters are likely to offer more competitive business terms. ECAs can provide appropriate cover when commercial lenders are more reluctant to assume political risks.

## Slide 17: Sources of capital: (4) - National and sub-national debt
Institution | Type of finance provided | Application
National government | Debt – sovereign bond | A sovereign bond is a bond issued by the national government for financing certain government objectives or needs. Sovereign bond issuances are an established way for countries, including countries on the African continent, to raise capital.
Municipality or state-owned utility | Sub-sovereign bonds | Quasi-sovereign bonds are bonds issued by a state-owned entity or parastatal and that may carry an implicit or explicit sovereign guarantee. A state-owned utility can be considered either sub-sovereign or quasi-sovereign depending on its ownership and operating structure. The amount that governments and state-owned enterprises can borrow is ultimately constrained by sovereign debt limits
Notes: To date, no clear trend of allocating capital raised in a sovereign bond offering to finance power has emerged, but sovereigns have the option of using capital raised for power financing.
Sub-sovereign and quasi-sovereign bonds have been used to finance power projects across the world but are not yet a common means of financing for power projects in emerging markets.
Note that sovereign debt limits can be a significant barrier for this source of finance

## Slide 18: Climate finance for developing countries are increasing but have not yet met the $100bn goal
Source: Aggregate Trends of Climate Finance Provided and Mobilised by Developed Countries in 2013-2020 | en | OECD
Notes: In 2009, developed countries committed to new and additional finance sources to “mobilizing jointly $100bn a year by 2020 to address the needs of developing countries,” and this was reaffirmed by Article 9 of the Paris Agreement in 2015.

## Slide 19: But climate finance will only meet part of total climate finance needs
Global Landscape of Climate Finance: A Decade of Data - CPI (climatepolicyinitiative.org)
Notes: Aligning finance with a 1.5C path would demand to cut the financing of high emissions activities and some resources to be reallocated to climate finance.
At least USD 4.3 trillion in annual finance flows or a 20% year-on-year increase by 2030 is required to avoid the worst impacts of climate change. This includes adaptation as well as mitigation investment.

## Slide 20: Concessional finance
Typically, concessional finance includes:
  Guarantees, insurance and other risk mitigation instruments.
  Concessional loans (with below market-rates of interest, or paid back over longer time periods than typically available on commercial money markets)
  Other instruments may include for example equity provided with a grant element, higher risk appetite or ‘softer’ payback conditions than available on commercial finance markets
  Grants (which are not paid back) to increase the viability of projects
Notes: Concessional finance is typically provided by developed countries (either directly or via their contributions to multi-lateral financial institutions) with the promotion of the economic development and welfare of developing countries as its main objective
Guarantees, insurance and risk mitigation:
  Partial credit risk guarantees – covers political and other risks associated with repayments by state-owned utilities
  Specific risk mitigation instruments may cover for example credit risk or construction risk
  Liquidity facilities reduce risk by ensuring payment in circumstances where cashflows may become constrained – e.g. delays in payment of guarantee payments
First-loss and subordinated debt provisions
  By taking first loss in a situation where projects face financial distress, public funds can help reduce the risk for other investors, lowering the overall cost of capital
Viability gap funds and grants
  Money that does not need to be repaid, helps improve the financial viability of the project
  Grants can be used for technical assistance to help improve project design and / or the wider regulatory environment to reduce project risk

## Slide 21: Blended finance archetypes
https://www.convergence.finance/blended-finance
Notes: Blended finance aims to use relatively small levels of development finance to attract larger volumes of commercial capital by helping to de-risk projects and contribute to credit enhancement
  Focus on projects that contribute to sustainable development, while providing financial returns to investors.
  Helps enlarge the total amount of resources available to developing countries
  Aims to overcome barriers to market formation. Pioneering projects may require considerable concessionality, but as markets mature, the magnitude of public contributions should decline so that it doesn’t crowd out private finance in the long-run

## Slide 22: What are private investors looking for?
Energy sector investments can provide an opportunity for private investors to contribute to their climate finance portfolios. Key issues that investors will want to understand before providing finance include:
  The links national climate targets
  The potential for additional revenue
  Evidence for carbon emissions reduced or avoided
  Familiarity with the investment type being considered
Notes: Key issues that investors will need to understand include:
  The links between the project and the host country’s nationally determined contribution (NDC – national climate targets)
  How the project aligns with Paris, including national net zero targets and interim targets*
  The potential for additional revenue through eg renewable energy certificates
  Evidence for carbon emissions reduced or avoided so that financial companies can report corporate emissions (see e.g. Chapter15.pdf (ghgprotocol.org) for reporting requirements
  Climate investors will often prefer to invest in areas where they are more familiar

## Slide 23: Role of government
Section 2

## Slide 24: Ownership structures determine financing options
Fully unbundled system - separate ownership of generation and transmission assets
  Private finance structures dominates generation investment
  Transmission investment depends on ownership (see later examples)
Fully integrated systems – state-owned utility owns and operates all infrastructure including generation and transmission:
  Government-funded finance structure dominates
Partially unbundled system – mixed ownership model
  Finance may be a mix of public and private
  Direct procurement of private investment by governments remains widespread especially in South Asia and sub-Saharan Africa (see graph and next slide)
Source: Rethinking Power Sector Reform in the Developing World (esmap.org)
Notes: In fully unbundled systems, the ownership of electricity generation is separate from ownership of the transmission and distribution grid.
In a fully integrated system, the state-owned utility owns all the assets including electricity generation, transmission and distribution. Finance for new investments would come off the utilities balance sheet. This may be subject to constraints on sovereign debt.
In many emerging and developing countries, power systems may be partially unbundled where the state-owned utility owns the grid infrastructure and some electricity generation assets, but private investment into new projects is encouraged through public procurement actions such as auctions (see “Delivery Mechanisms” chapter of playbook).
Direct negotiation of deals for IPPs remains widespread across Sub-Saharan Africa and South Asia (figure O.6). Such non-transparent procurement processes jeopardize value for money in generation and invite allegations of corruption.
The available evidence suggests that the features of the planning and procurement framework most closely associated with good outcomes for security of supply are the existence of institutional capacity for planning, the use of a transparent and participatory process for developing plans, and the adoption of competitive bidding for new generation.

## Slide 25: Creating an enabling environment for private finance
Governments play a crucial role in creating conducive conditions for private investment in their countries. These generally all work towards reducing risks to investors.
Sources:
CLDP Understanding Power Purchase Agreements,
IRENA Low-cost finance for the energy transition
Notes: Key factors that governments can help create to encourage private investment:
Stable and predictable legal and policy framework
Demand analysis and transmission system planning
Market design, incentive structures & tariffs
Reliability of payments – e.g. consumer metering
Independent regulator
Stable macroeconomic outlook

## Slide 26: Example of Financing Electricity Generation Projects
Section 3

## Slide 27: Procurement of grid-scale solar
Auctions for contracts with independent power producers – the case of ‘Scaling Solar’
Notes: Scaling Solar
World Bank Group (including WB & IFC) provided a combination of instruments to standardise and de-risk contracts and the wider investment environment. Clear tendering arrangements led to competitive auctions that helped drive down the cost of renewables in several developing countries.

## Slide 28: ‘Scaling Solar’ achievements and lessons learned
Scaling solar achieved record low tariffs
Demonstrate the role of best practices in auction success (auction design, process / documentation standardisation etc.)
Projects & investments completed and operational:
Country | Project size (MW) | Tariff (US c/kWh) | Date
Senegal | 60 | <4.0 | 2021 – operational
Uzbekistan | 100 440 | 2.7 1.8 | 2019 – Phase 1 operational 2023 – Phase 2 expected financial close
Zambia | 75 | 6.0 | 2019 – operational
Notes: The positives were that the scaling solar process led to competitive auction bids from project developers that led to some record-breaking low prices for the power being contracted under the auctions.
However, other lessons learned include:
Scaling Solar itself did not scale beyond the three countries noted above
Nor did it scale the broader solar market - the approach has not been replicated by other institutions or countries, and investment rates remain low particularly in sub-Saharan Africa
This reflects the continued complexity of putting together financing deals in emerging country contexts
Although the record-breaking tariffs agreed were nominally subsidy-free, the implicit subsidies provided by the WBG ‘One-stop shop’ approach were effectively underpinning the deals, and may be difficult to replicate without more explicit recognition of the need for concessional finance

## Slide 29: Examples of Financing Transmission Projects
Section 4

## Slide 30: Sovereign debt funding model: Lake Turkana, Kenya
Lake Turkana Transmission line project The original relationship among parties in the at the time of commissioning of the line
Source: CLDP Understanding Power Transmission Financing
Sovereign debt funded model
Underpinned by a tolling agreement that defines the fee (“toll”) that KETRACO, the grid company, charges for transmitting the electricity
Notes: The government-owned Kenya Electricity Transmission Company (KETRACO), created in 2008, owns the national transmission grid infrastructure. KETRACO agreed to partly fund the line and substation with its own equity.
The project is underpinned by a “tolling agreement” with Kenya Power, the national utility. A “tolling agreement” performs a similar function that power purchase agreements play in generation projects. For transmission projects, it is the fee (or “toll”) that the grid company charges for transmitting the power that determines the income it will generate from the project.

## Slide 31: State-owned utility borrowing model: Nampower
In 2007, the Namibian state-owned utility NamPower successfully issued a $3B Namibian dollar-denominated long-term bond to fund the Caprivi Link Interconnector connecting Namibia to the Zambian and Zimbabwean electricity networks
This commercial debt financing (65%) was combined with debt (35%) from various DFIs.
This allowed the contract to be signed with the project developer (ABB Power Grids) to develop the project
Source: CLDP Understanding Power Transmission Financing
Notes: State-owned utilities can only borrow independently of the government in countries with financially strong energy sectors that can independently recover their investment and operating costs, and have state-owned utilities that require minimal government subsidies or interventions to stay financially solvent.
There are only a handful of state-owned power utilities in SSA that are sufficiently creditworthy to allow them to borrow from external sources. Namibia is one of these.
This is an example of corporate finance. The repayment of the loan is not necessarily linked to the performance of the underlying asset that has been constructed but secured against other sources of income or revenue generated by the state-owned utility. The state-owned utility borrowing can be from ECAs and DFIs or the capital market.

## Slide 32: Independent Power Transmission projects in Peru
Procurement of privately financed transmission projects started in 1998. Private investors selected through a competitive process.
7,560 km transmission lines (220kV and 500kV), a total budget of $2.6 billion. All these projects were based on a BOOT model and were 30-year contracts.
Winning bids for IPT projects in Peru were an average of 36% lower than expected.
Notes: With Independent Power Transmission projects, a private party builds the project, and normally assumes all the construction and financing risk. This keeps projects off government balance sheets, and avoids sovereign debt constraints. There are different models of IPT that vary by degree of ownership and maintenance obligations, which has an impact on the risk borne by the developer, and therefore the cost of finance. Main models are:
Build-Own-Operate
Build-Own-Operate-Transfer
Build-Own-Transfer

## Slide 33: Private Finance Models (2): Whole of Grid concessions
How it works
A concession is granted to a private company giving it the right to develop, construct, operate and maintain transmission infrastructure.
This usually involves an upfront fee paid by concessionaire to the state-owned transmission company
In return, the company receives the remuneration from operating the grid, taking the form of ‘use of system’ charges paid by electricity generators, distribution companies and electricity consumers.
The regulator will play an important role in determining licence conditions and setting tariffs.
Example
The Philippines is an example of a long-term (25-year) concession for existing transmission assets. The main goal was to raise capital for the sector and the Treasury. Privatisation of the transmission system attracted close to $4.2 billion in a concession deal that closed in 2007.
Source: CLDP Understanding Power Transmission Financing
Notes: In this model, a private company takes over the function of developing and maintaining the grid on behalf of the state-owned transmission company
The concession may cover the whole existing transmission network in a country, or a portion of an existing transmission network, which can be limited to a territorial area or identified transmission lines and related infrastructure

## Slide 34: Listed platforms to monetise assets – India’s Infrastructure investment trust case study (1 of 2)
Listed platforms, like the Infrastructure investment trusts (InvITs) used in India, can enable the monetization of infrastructure assets post-construction. This reduces cost of capital and hence the cost to consumers.
Notes:
InvIT rules
InvITs are a special form of trust designed by the Securities and Exchange Board of India to support infrastructure asset investment specifically.
InvITs must ensure:
Minimum net-worth requirements and asset sizes for the set-up of the InvIT.
Restrictions on what assets the InvIT can invest in; generally restricting a supermajority of assets to a certain sector, and to operational assets.
90% of the cash flow needs to be distributed
Leverage limits of up to 70% of asset value.
Governance, investment decisions and operational management of assets are done by contracted third parties (Trustee, Investment Manager, Project Manager)
InvITs can be publicly or privately listed.
Notes: Background to InvITs
Infrastructure assets are often partially or wholly sold to institutional investors post construction.
Once built, the assets are less risky, and so require a lower return.
This reduces the cost of the project and ‘recycles capital’ which the original developer can use for new projects.
However selling individual assets is costly and time consuming. It can only be done efficiently if there is liquid market of assets and buyers, which is not present in all countries.
Listed platforms, like InvITs, focused on buying and holding infrastructure assets, can overcome this barrier:
  For buyers, the platform offers scale and diversity (combining multiple assets), liquidity (shares in the InvIT are tradable) and some tax benefits.
  For sellers, InvITs can be a consistent counterparty. Assets can be efficiently sold using a framework agreement.

## Slide 35: India’s Infrastructure investment trust - case study of Sterlite Power (2 of 2)
Notes:
Selldown to KKR and GIC
IndiGrid raised US$400 Mn through a preferential issue to KKR & GIC in 2019, giving them a controlling stake
Current Status
Set-up of InvIT
Sterlite Power launched the IndiGrid InvIT with two transmission assets, raising US$120m from 19 anchor investors
IndiGrid IPO
IPOed in 2017, the InvIT raised US$ 350Mn from additional investors
1
2
3
5
As on date, 11 commissioned projects ~7,000 ckm “flipped” to the InvIT by Sterlite Power; framework agreement in place for sell-off of future operational assets. Four other transmission assets acquired from other developers.
Exit from Platform
Sterlite exited Indigrid in 2020 through sale of its residual stake making it a truly third-party Yield vehicle
4
Note: Above mentioned USD values are based on prevailing INR – USD conversion
Notes: There are now over 20 registered infrastructure investment trusts in India across transmission, power, roads and telecoms with assets under management of over 16.5bn US dollars. Sterlite Power, a private developer of transmission projects, launched the first power transmission focused InvIT in 2016. The chart shows the steps involved from the initial setup of the Investment Trust through to Sterlite’s eventual exit from the investment to a third party, allowing them to recycle capital to new projects.

## Slide 36: Resources & Links

## Slide 37: Links to resources on financing small scale / distributed energy system investments
BNEF Finance Guide for Policy Makers https://www.bbhub.io/bnef/sites/4/2016/08/Finance-Guide-for-Policymakers-RE-GreenInfra-August-2016.pdf
Understanding Power Purchase Agreements https://cldp.doc.gov/sites/default/files/PPA%20Second%20Edition%20Update.pdf
Understanding Power Project Procurement https://cldp.doc.gov/sites/default/files/UnderstandingPowerProjectProcurement.pdf
Understanding Power Project Financing https://cldp.doc.gov/sites/default/files/UnderstandingPowerProjectFinancing.pdf
Understanding Power Transmission Financing https://cldp.doc.gov/sites/default/files/2023-03/Consolidated%20Articles-SEAsia_ENG.pdf
OECD Blended finance guide
  https://www.oecd.org/dac/financing-sustainable-development/blended-finance-principles/guidance-and-principles/
  https://one.oecd.org/document/DCD/DAC(2020)42/FINAL/En/pdf
IRENA: Low-cost finance for the energy transition (irena.org)
1.Convergence. Blended Finance. n.d. Viewed 12 February 2021. https://www.convergence.finance/blended-finance
CCG OpenLearn series OpenLearn Courses – Climate Compatible Growth
IRENA (2023), International Renewable Energy Agency, Abu Dhabi. The cost of financing for renewable power
India's Infrastructure Investment Trusts
  Explanation of InvITs by CEEW (link)
  Academic paper on InvITs (link)
  Another write up on InvITs (link)
  The initial IndiGrid offer document (link)

## Slide 38
Blyth W., 2023. Lecture 9: Finance.
The Electricity Transition Playbook. Release Version 1.0 [online presentation]. Climate Compatible Growth Programme, Green Grids Initiative
Supported by and in collaboration with CCG and Green Grids Initiative
Consolidated by Will Blyth from CCG and Green Grids Initiative

## Slide 39
This document was updated on 01.11.2024